TENNESSEE DEPARTMENT OF ENVIRONMENT AND CONSERVATION

DIVISION OF WATER POLLUTION CONTROL

OFFICE CORRESPONDENCE

DATE:	8/14/12

TO:		Richard Urban, Angela Young, Jennifer Innes

FROM:	Mike Bascom

SUBJECT:      Englewood Sewer Overflow Complaint and STP DMR review

During 2011, Englewood had 86 SSOs.

By month:

| 2011 | SSOs |
| --- | --- |
| Jan | 3 |
| Feb | - |
| March | 10 |
| April | 27 |
| May | - |
| June | - |
| July | - |
| August | - |
| September | 8 |
| October | - |
| November | 20 |
| December | 18 |

Within the past year (August 2011-August 2012), the Town of Englewood has had 63 SSOs at these locations.

| Location | SSOs |
| --- | --- |
| Manhole at Old Englewood Road | 9 |
| Manhole located at SE corner of STP | 22 |
| Manhole located at NW corner of STP | 18 |
| Old Niota Rd. Lift Station | 14 |

Everlasting Baptist Church believes they have had an overflow every time the manhole at Old Englewood Rd. has overflowed.

Mr. Cass stated that he could complete the install a backflow preventer within 30 days and he would begin installing the backflow preventer August 13, 2012.

The operator of the STP, Curtis Runkler does not report the occurrences of overflows on the DMR but on a separate spreadsheet.  He signs the spreadsheet.

It appears we will have to explain to the Town of Englewood that it must put itself under a moratorium.