TENNESSEE DEPARTMENT OF ENVIRONMENT AND CONSERVATION

DIVISION OF WATER SUPPLY

INTERIM ENHANCED SURFACE WATER TREATMENT RULE

FILTER PERFORMANCE REPORT (1)

Cumberland Utility District

| P.O. Box 950 |  |  |
| --- | --- | --- |
| Harriman, TN 37748 |  |  |

SAMPLE PERIOD 	TOTAL HOURS PLANT	LABORATORY

PWSID #	ENTRY POINT	START DATE	END DATE	OPERATED THIS MONTH	ID

| 0 | 0 | 0 | 0 | 5 | 3 | 1 |  | B |  | 01 | 4 | 0 | 1 | 2 | 4 |  | 0 | 4 | 3 | 0 | 2 | 4 |  | 1 | 2 | 5 |  | 0 | 0 | 1 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | m | m | d | d | y | y |  | m | m | d | d | y | y |  |  |  |  |  |  |  |  |  |  |

NUMBER OF FINISHED	PERCENT OF FINISHED	NUMBER OF FINISHED

WATER SAMPLES	WATER SAMPLES	WATER SAMPLES	HIGHEST FINISHED

REPORTABLE SAMPLES (2)	LESS THAN OR EQUAL	LESS THAN OR EQUAL	EXCEEDING 1.0 NTU (4)	WATER TURBIDITY

REQUIRED	TAKEN	TO 0.3 NTU (3)	TO 0.3 NTU	(LIST DATES ON BACK)	THIS MONTH

| 0 | 3 | 8 |  | 0 | 3 | 8 |  | 0 | 3 | 8 |  |  | 1 | 0 | 0 | . | 0 |  |  |  | 0 | 0 | 0 |  | 0 | 0 | . | 0 | 8 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Notes:

(1) This form applies to filtration systems serving a population of 10,000 or more and utilizing either a surface water supply or a source that has been designated groundwater under the direct influence of surface water.

(2) Finished water turbidity must be measured and recorded every 4 hours that the plant is in operation.  Systems which measure turbidity more than once during a 4 hour period, shall report the highest value measured.  Systems utilizing continuous monitoring turbidimeters shall report the highest recorded value for every 4 hour period.

(3) If this system has been granted written approval to meet a value other than 0.3 NTU, use the approved value in lieu of 0.3 NTU.

(4) List on the back of the form the dates when a sample exceeded 1.0 NTU, and the date the state was notified of the exceedance.

__________________________________________________________________________________________________________________________________________________

|  | Y or N |
| --- | --- |
| Did this facility meet the CT requirements for each day it was in operation? | Y |
| A. FOR ALL FILTERS AT THIS FACILITY | Y or N |
| 1. Was turbidity monitored continuously and the results recorded for each filter effluent line? | Y |
| 2. If the answer to question number 1 is no, was |  |
| grab sampling conducted for every 4 hours the continuous monitor was out of service? |  |
| 3. If the answer to question number 2 is yes, |  |
| was grab sampling conducted for more than 5 consecutive days on any individual filter? |  |
| B. FOR ANY FILTER AT THIS FACILITY (5) |  |
| Were any 2 consecutive filter effluent measurements taken 15 minutes apart: | Y or N | Filter Numbers (maximum of four filters) |
| 1. Greater than 0.5 NTU after the first 4 hours of operation? | N |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Greater than 1.0 NTU? | N |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Greater than 1.0 NTU in each of 3 consecutive months? | N |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Greater than 2.0 NTU in two consecutive months? | N |  |  |  |  |  |  |  |  |  |  |  |  |  |

Note:

(5) If this facility answered "Yes" to any of the four questions listed in Section B. above, then the system must submit a "Monthly Turbidity Exceedance Report" (CN-1196) for the individual filter that met at least one of the conditions listed.

I CERTIFY THAT THE INFORMATION LISTED ON THIS FORM ACCURATELY CORRESPONDS TO THE OPERATION OF THIS FACILITY FOR THE REPORTING PERIOD SPECIFIED HEREIN.

PREPARED BY:_________________________ DATE:________ PHONE: _(____)__________ 	 APPROVED BY:_________________________ DATE:________ PHONE: _(____)__________