Table 1

### Municipality: City of Covington   POTW Name: Covington WWTP

### May 2024

### IUs Eliminated From Further Survey Efforts

Company Name			Company Address		Company Contact

1.	American Closeout Wholesale		974 Hwy 51 N.		   N/A

Reason Eliminated:  No longer in production.  Domestic discharge only. CLOSED

2.	Anderson & Anderson LLC			111-A Hope St.		   N/A

Reason Eliminated:  No longer in production.  Domestic discharge only.

3.	Delfield Company				1 Delfield Dr.			Steve Griffin

Reason Eliminated:  Refrigeration equipment assembly.  Domestic discharge only CLOSED.

4.	Producers Mid-South Co.			250 Witherington Dr.		   N/A

Reason Eliminated:  This Company loads cotton seeds onto railcars for shipment.  Domestic discharge only. CLOSED

5.         Tennessee Gins Inc.                                        800 Tennessee Ave.                 Russell Bailey

Reason Eliminated: Cotton Gin Domestic discharge only. CLOSED.

6.         World Wide Lines INT.                                  128 Industrial Rd.                       N/A

Reason Eliminated: No longer in production. CLOSED Domestic discharge only

7.        ITW Paslode                                                    1211 Hope St.                            Andy Maupin

Reason Eliminated: No longer in production. CLOSED Domestic discharge only

Note:	The reason for eliminating each of these IUs from further survey efforts must be shown.  If groups of IUs were all eliminated for the same or similar reasons, they may be listed together with single explanation.

TABLE 2

### Municipality:  City of Covington   POTW Name: Covington Wastewater Treatment Plant

Industrial Waste Survey Results

|  |  | Nondomestic Wastewater (Check both if appropriate) |  |
| --- | --- | --- | --- |
| Company Name | Company Address | SIC Code | No Discharge to POTW | Domestic, Noncontact cooling, Boiler/Tower Blowdown Wastewater ONLY | Contains any of the 129 Toxics | Prohibited Pollutants See 40 CFR 403.5(b) | Did not Respond |
|  |  |  | [ ] | [X] | [ ] | [ ] | [ ] |
| Tops Products |  | 2678 | [ ] | [ ] | [ ] | [ ] | [ ] |
| 1001 Rialto Road |  | 2761 | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
| Charms Company |  | 2065 | [ ] | [ ] | [ ] | [ ] | [ ] |
| 899 Hope Street |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
| Unilever |  | 2032 | [ ] | [ ] | [ ] | [ ] | [ ] |
| 2000 Hwy 51 North |  | 2024 | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
| Mueller Fittings Co. |  |  | [ ] | [ ] | [X] | [ ] | [ ] |
| 3400 Mueller Brass Road |  | 3432 | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
| Sustainable Fiber Solutions |  | 2672 | [ ] | [ ] | [ ] | [ ] | [ ] |
| 4400 Hwy 51 North |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
| Sugaright Company |  | 2062 | [ ] | [ ] | [ ] | [ ] | [ ] |
| 4000 Hwy 51 North |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |
|  |  |  | [ ] | [ ] | [ ] | [ ] | [ ] |

TABLE 3

### Municipality: City of Covington   POTW Name: Covington Wastewater Treatment Plant

IUs Discharging Nondomestic Wastewater

| Company Name | SIC Code | Average Flow (gpd) | Pollutants Know or Suspected Present in Nondomestic Wastestream | Average Pollutant Concentration, If Known | Is Pretreatment of Nondomestic Wastestream Provided | Treatment Plant (if more than one in POTW system) | Jurisdiction (If POTW service area serves IUs in other Jurisdictions. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | [ ] |  |  |
| Tops Products | 2678 | 3,700 | NONE |  | [ ] | Cov. WWTP |  |
|  | 2761 |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |
| Charms Company | 2065 | 36,850 | NONE |  | [ ] | Cov. WWTP |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [X] |  |  |
| Unilever | 2032 | 412,870 | NONE |  | [ ] | Cov. WWTP |  |
|  | 2024 |  |  |  | [ ] |  |  |
|  |  |  |  |  | [X] |  |  |
| Mueller Fittings | 3432 | 10,500 | Cu. | < 2.0ppm | [ ] | Cov. WWTP |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [X] |  |  |
| Sustainable Fiber Solutions | 2672 | 2,000 | NONE |  | [ ] | Cov. WWTP |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [X] |  |  |
| Sugaright Company | 2062 | 5,000 | NONE |  | [ ] | Cov. WWTP |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |
|  |  |  |  |  | [ ] |  |  |