State of Tennessee
DEPARTMENT OF ENVIRONMENT AND CONSERVATION

DIVISION OF WATER RESOURCES-LAND BASED SYSTEMS UNIT

William R. Snodgrass Tennessee Tower

312 Rosa L. Parks Avenue
Nashville, Tennessee  37243

MEMORANDUM

TO:	Hari Akunuri, DWR-CO

FROM:	Allen Rather, DWR- Land Based Systems Unit

DATE:		12/16/2015

SUBJECT:	LCSS/SFDS (Class V Injection) Approval

Georgia Point Subdivision

Ten Mile, Meigs County, Tennessee

UIC File MEG 0000004	SOP-98023

The Division of Water Resources has reviewed the submittal of an Application for Authorization to Operate a Class V Underground Injection Well (Large Capacity Septic System/Subsurface Fluid Disposal System) utilizing drip dispersal for the waste water at the Georgia Point Subdivision located at Ten Mile County, Tennessee. This Division approves the application dated 12/15/2015.

If at any time the Division learns that a ground water discharge system may be in violation of The Tennessee Water Quality Control Act, the Division shall:

a.	require the injector to apply for an individual permit;

b.	order the injector to take such actions including, where required, closure 	of the injection well as may be necessary to prevent the violation; or

c.	take enforcement action.

All groundwater discharge activities must operate in such a manner that they do not present a hazard to groundwater.

In accordance with Underground Injection Control (UIC) Rule 0400-45-06-.14 (3) “The owner of a Class V well shall be responsible for notifying the Department of change in ownership.”  This notification must be made to this Division within thirty (30) days of the change in ownership.

Also note that according to Underground Injection Control (UIC) Rule 0400-45-6-.14 (8)(d) “Upon completion of the well, the owner or operator must certify to the Department that the well has been completed in accordance with the approved construction plan, and must submit any other additional information required”.  The certification must be submitted to the UIC Program within thirty (30) days upon the completion/closure of the Class V well.

No drip emitters are to discharge directly into an open throat or crevice in the subsurface. All drip lines are to be installed on contour.

Our concurrence with your approach does not imply that this procedure is exempt from future changes or restrictions in the Underground Injection Control (UIC) Regulations, or any additional requirements set forth by the Division in order to protect the groundwater of Tennessee.

A copy of this authorization must be kept on site until the development has been completed and must be made available to inspection personnel.

Should you have any questions or comments please feel free to contact me at (615) 532-5819 or allen.rather@tn.gov.

c:	file