National Pollutant Discharge Elimination System (NPDES)

General Permit for Discharges of Stormwater

Associated with Construction Activities

Permit Number TNR100000

Issued by

Department of Environment and Conservation

Division of Water Resources

William R. Snodgrass - Tennessee Tower

312 Rosa L. Parks Avenue, 11th Floor

Nashville, Tennessee 37243-1102

Under authority of the Tennessee Water Quality Control Act of 1977 (T.C.A. 69-3-101 et seq.) and the authorization by the United States Environmental Protection Agency under the Federal Water Pollution Control Act, as amended by the Clean Water Act of 1977 (33 U.S.C. 1251, et seq.) and the Water Quality Act of 1987, P.L. 100-4, including special requirements as provided in Subpart 6.4 of this general permit, operators of point source discharges of stormwater associated with construction activities into waters of the State of Tennessee, are authorized to discharge stormwater associated with construction activities in accordance with the following permit monitoring and reporting requirements, effluent limitations, and other provisions as set forth in parts 1 through 10 herein, from the subject outfalls to waters of the State of Tennessee.

This permit is issued on:	September 27, 2021

This permit is effective on:	October 1, 2021

This permit expires on:	September 30, 2026

_________________________________

for Jennifer Dodd

Director

Tennessee General Permit No. TNR100000
Stormwater Discharges Associated with Construction Activities

Table of Contents

PART 1	1

1.	COVERAGE UNDER THIS GENERAL PERMIT	1

1.1.	PERMIT AREA	1

1.2.	DISCHARGES COVERED BY THIS PERMIT	1

1.2.1.	Stormwater Discharges Associated with Construction Activities	1

1.2.2.	Stormwater Discharges Associated with Construction Support Activities	2

1.2.3.	Non-Stormwater Discharges Authorized by this Permit	2

1.2.4.	Other NPDES-Permitted Discharges	3

1.3.	LIMITATIONS ON COVERAGE	3

1.4.	OBTAINING PERMIT COVERAGE	5

1.4.1.	Notice of Intent (NOI)	5

1.4.2.	Stormwater Pollution Prevention Plan (SWPPP)	6

1.4.3.	Permit Application Fee	7

1.4.4.	Submittal of Documents to Local Municipalities	8

1.4.5.	Permit Coverage Through a Qualifying Local Program (QLP)	8

1.5.	NOTICE OF COVERAGE	9

1.5.1.	Permit Tracking Numbers	9

1.5.2.	Notice of Coverage (NOC)	9

PART 2	11

2.	CONSTRUCTION SITE OPERATORS	11

2.1.	TYPES OF OPERATORS	11

2.1.1.	Owner/Developer	11

2.1.2.	Commercial Builders	11

2.1.3.	Contractors	12

2.2.	RESPONSIBILITIES OF OPERATORS	12

2.2.1.	Permittees with Design Control	13

2.2.2.	Permittees with Day-to-Day Operational Control	13

PART 3	15

3.	NOTICE OF INTENT (NOI) REQUIREMENTS	15

3.1.	NOI SUBMITTAL	15

3.1.1.	Who Must Submit an NOI?	15

3.1.2.	Existing Sites	15

3.1.3.	New Sites or New Phases of Existing Sites	15

3.1.4.	New Operators	16

3.1.5.	Late NOIs	16

3.1.6.	Who Must Sign the NOI?	17

3.2.	FORMAT AND CONTENT OF THE NOI FORM	17

3.2.1.	NOI Form	17

3.2.2.	Construction Site Map	17

3.3.	WHERE AND HOW TO SUBMIT AN APPLICATION	18

3.3.1.	Traditional Submittal	18

3.3.2.	Submittal Using Electronic Forms	18

3.4.	TDEC ENVIRONMENTAL FIELD OFFICES (EFOS) AND CORRESPONDING COUNTIES	19

Part 4	20

4.	CONSTRUCTION AND DEVELOPMENT EFFLUENT GUIDELINES	20

4.1.	NON-NUMERIC EFFLUENT LIMITATIONS	20

4.1.1.	Erosion prevention and sediment controls	20

4.1.2.	Water Quality Riparian Buffer Zone Requirements	20

4.1.2.1.	Water quality riparian buffer zone exemption based on existing uses	22

4.1.2.2.	Pre-approved sites	22

4.1.3.	Dewatering	22

4.1.4.	Pollution Prevention Measures	23

4.1.5.	Prohibited Discharges	23

PART 5	24

5.	STORMWATER POLLUTION PREVENTION PLAN (SWPPP) REQUIREMENTS	24

5.1.	THE GENERAL PURPOSE OF THE SWPPP	24

5.2.	QUALIFICATION REQUIREMENTS	25

5.3.	SWPPP PREPARATION AND COMPLIANCE	26

5.3.1.	Existing Sites	26

5.3.2.	New Sites or New Phases of Existing Sites	26

5.3.3.	Signature Requirements	26

5.3.4.	SWPPP Availability	26

5.4.	KEEPING SWPPP CURRENT	27

5.4.1.	SWPPP Modifications	27

5.5.	COMPONENTS OF THE SWPPP	28

5.5.1.	SWPPP Narrative	28

5.5.2.	SWPPP and EPSC plans	29

5.5.3.	Erosion Prevention and Sediment Controls (EPSC)	30

5.5.3.1.	General criteria and requirements	30

5.5.3.2.	Construction phasing	31

5.5.3.3.	Projects Exceeding 50 acres of Disturbance	31

5.5.3.4.	Stabilization practices	33

5.5.3.5.	Structural practices	34

5.5.3.6.	Stormwater management	35

5.5.3.7.	Other items needing control	36

5.5.3.8.	Site Assessments	36

5.5.3.9.	Inspections	37

5.5.3.10.	Inspector qualifications	37

5.5.3.11.	Schedule of inspections	38

5.5.3.12.	Pollution prevention measures for non-stormwater discharges	39

PART 6	40

6.	SPECIAL CONDITIONS, MANAGEMENT PRACTICES, AND OTHER NON-NUMERIC LIMITATIONS	40

6.1.	RELEASES IN EXCESS OF REPORTABLE QUANTITIES	40

6.2.	SPILLS	40

6.3.	DISCHARGE COMPLIANCE WITH STATE WATER QUALITY STANDARDS	40

6.3.1.	Violation of water quality standards	40

6.3.2.	Discharge quality	40

6.4.	DISCHARGES INTO WATERS WITH UNAVAILABLE PARAMETERS OR EXCEPTIONAL TENNESSEE WATERS	41

6.4.1.	SWPPP/BMP Requirements	41

6.4.2.	Water Quality Riparian Buffer Zone Requirements	42

PART 7	44

7.	RETENTION, ACCESSIBILITY AND SUBMISSION OF RECORDS	44

7.1.	DOCUMENTS	44

7.2.	ACCESSIBILITY AND RETENTION OF RECORDS	44

7.2.1.	Posting Information at the Construction Site	44

7.3.	ELECTRONIC SUBMISSION OF DOCUMENTS	45

7.3.1.	Monitoring Results	46

PART 8	47

8.	STANDARD PERMIT CONDITIONS	47

8.1.	DUTY TO COMPLY	47

8.1.1.	Duty to Comply	47

8.1.2.	Penalties	47

8.1.3.	Civil and criminal liability	48

8.1.4.	Liability Under State Law	48

8.2.	CONTINUATION OF THE EXPIRED GENERAL PERMIT	48

8.3.	NEED TO HALT OR REDUCE ACTIVITY NOT A DEFENSE	48

8.4.	DUTY TO MITIGATE	48

8.5.	DUTY TO PROVIDE INFORMATION	49

8.6.	OTHER INFORMATION	49

8.7.	SIGNATORY REQUIREMENTS	49

8.7.1.	Signatory Requirements for an NOI	49

8.7.2.	Signatory Requirements for SWPPPs, Reports and Other Items	50

8.7.3.	Duly Authorized Representative	50

8.7.4.	Changes to Authorization	51

8.7.5.	Signatory Requirements for Primary Permittees	51

8.7.6.	Signatory Requirements for Secondary Permittees	52

8.8.	OIL AND HAZARDOUS SUBSTANCE LIABILITY	52

8.9.	PROPERTY RIGHTS	52

8.10.	SEVERABILITY	52

8.11.	INDIVIDUAL PERMITS	53

8.11.1.	Required Individual Permit Coverage	53

8.11.2.	Permittee-Requested Individual Permit Coverage	54

8.11.3.	General Permit Termination	54

8.12.	OTHER, NON-STORMWATER, PROGRAM REQUIREMENTS	54

8.13.	PROPER OPERATION AND MAINTENANCE	54

8.14.	Inspection and Entry	55

8.15.	PERMIT ACTIONS	55

PART 9	56

9.	REQUIREMENTS FOR TERMINATION OF COVERAGE	56

9.1.	TERMINATION OF DEVELOPER AND BUILDER COVERAGE	56

9.1.1.	Termination Process for Primary Permittees	56

9.1.2.	NOT Review	57

9.2.	TERMINATION OF BUILDER AND CONTRACTOR COVERAGE	57

9.2.1.	Termination Process for Secondary Permittees	57

9.3.	NOT CERTIFICATION	58

9.4.	WHERE TO SUBMIT A NOT?	58

PART 10	59

10.	DEFINITIONS, ACRONYMS AND RESOURCES	59

10.1.	Definitions	59

10.2.	Acronyms and Abbreviations	72

10.3.	Resources, Hyperlinks, and Web Pages	73

Appendix A – notice of intent form (noi)

Appendix B – NOTICE OF TERMINATION FORM (NOT)

Appendix C – Inspection Report Form

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

Error! Hyperlink reference not valid.

VMJ

TNR100000

PART 1

COVERAGE UNDER THIS GENERAL PERMIT

PERMIT AREA

The construction general permit (CGP) covers all areas of the State of Tennessee.

DISCHARGES COVERED BY THIS PERMIT

Stormwater Discharges Associated with Construction Activities

Discharge of stormwater associated with construction activity, as used in this permit, refers to stormwater point source discharges from areas where soil disturbing activities, or associated construction support activities (see Section 1.2.2) are located. Soil disturbing activities include but are not limited to clearing, grading, grubbing, filling and excavation.

This permit authorizes stormwater point source discharges from construction activities that result in soil disturbances of one or more acres. Soil disturbances of less than one acre are required to obtain authorization under this permit if construction activities are part of a larger common plan of development or sale that comprises at least one acre of cumulative land disturbance. One or more site operators must maintain coverage under this permit for all portions of a site that have not been permanently stabilized.

Projects of less than one acre of total land disturbance require authorization under this permit if:

- the director has determined that the stormwater discharge from a site is causing, contributing to, or is likely to contribute to a violation of a state water quality standard;

- the director has determined that the stormwater discharge is, or is likely to be a significant contributor of pollutants to waters of the state; or

- changes in state or federal rules require sites of less than one acre that are not part of a larger common plan of development or sale to obtain a stormwater discharge permit.

Stormwater Discharges Associated with Construction Support Activities

This permit also authorizes stormwater discharges from support activities associated with a permitted construction activity. Support activities may include concrete or asphalt batch plants, equipment staging yards, material storage areas, excavated material disposal areas and borrow areas. Support activities are authorized provided all of the following conditions are met:

- The support activity is related to a construction activity that is covered under this general permit.

- The operator of the support activity is the same as the operator of the construction activity.

- The support activity is not a commercial operation serving multiple unrelated construction projects by different operators.

- The support activity does not operate beyond the completion of the construction activity of the last construction project it supports.

- Support activities are identified in the Notice of Intent (NOI) and the Stormwater Pollution Prevention Plan (SWPPP). The appropriate erosion prevention and sediment controls and measures applicable to the support activity shall be described in a site-wide SWPPP covering all discharges from the support activity areas.

TDOT projects shall be addressed in the Waste and Borrow Policy. Stormwater discharges associated with support activities that have been issued a separate individual permit or an alternative general permit are not authorized by this general permit. This permit does not authorize any process (dry weather) wastewater discharges from support activities. Process (dry weather) wastewater discharges from support activities must be authorized by an individual permit or other appropriate general permit.

TDOT projects shall be addressed in the Waste and Borrow Policy. Stormwater discharges associated with support activities that have been issued a separate individual permit or an alternative general permit are not authorized by this general permit.

Non-Stormwater Discharges Authorized by this Permit

The following non-stormwater discharges from site-wide SWPPP areas of permitted construction activities are authorized by this permit provided the non-stormwater component of the discharge is in compliance with Subsection 5.5.3.12:

- Dewatering of collected stormwater and groundwater, discharged in accordance with section 4.1.3.

- Waters used to wash dust and soils from vehicles where detergents are not used and detention and/or filtering is provided before the water leaves site. Wash removal of process materials such as oil, asphalt or concrete is not authorized.

- Water used to control dust in accordance with Section 5.5.3.7.

- Potable water sources, including waterline flushings, from which chlorine has been removed to the maximum extent practicable.

- Routine external building washdown that does not use detergents or other chemicals.

- Uncontaminated, non-turbid groundwater or spring water.

- Foundation or footing drains where flows are not contaminated with pollutants (e.g., lubricants and fluids from mechanized equipment, process materials such as solvents, heavy metals, etc.).

- Discharges from emergency fire-fighting activities.

- Fire hydrant flushings.

- Landscape irrigation.

- Pavement wash waters, provided spills or leaks of toxic or hazardous substances have not occurred (unless all spill material has been removed) and where soaps, solvents, and detergents are not used.

- Uncontaminated air conditioning or compressor condensate.

All non-stormwater discharges authorized by this permit must be free of sediment and other solids, must not cause erosion of soils, and must not result in sediment or erosion impacts to receiving streams.

Other NPDES-Permitted Discharges

Discharges of stormwater or wastewater authorized by and in compliance with a different NPDES permit may be mixed with discharges authorized by this permit.

LIMITATIONS ON COVERAGE

Except for discharges from support activities, as described in Section 1.2.2 and non-stormwater discharges listed in Section 1.2.3, all discharges covered by this permit shall be composed entirely of stormwater. This permit does not authorize the following discharges:

- Post-construction discharges - Stormwater discharges associated with permanent stormwater management structures after construction activities have been completed, the site has undergone permanent stabilization and the coverage under this permit has been terminated.

- Discharges mixed with non-stormwater - Discharges that are mixed with sources of non-stormwater, other than discharges which are identified in Section 1.2.4 and in compliance with Subsection 5.5.3.12 of this permit.

- Discharges covered by another permit - Discharges associated with construction activities that have been issued an individual permit in accordance with Subpart 8.11.

- Discharges threatening water quality - Discharges from construction sites that the director determines will cause or has the reasonable potential to cause or contribute to violations of water quality standards. Where such a determination has been made, the division will notify the discharger in writing that an individual permit application is necessary as described in Subpart 8.11. The division may authorize coverage under this permit after appropriate controls and implementation procedures have been included in the SWPPPError! Hyperlink reference not valid. that are designed to bring the discharge into compliance with water quality standards.

- Discharges into waters with unavailable parameters - Discharges to waters with unavailable parameters that would cause measurable degradation of water quality for the parameter that is unavailable; or that would cause additional loadings of unavailable parameters that are bioaccumulative or that have criteria below method detection levels. Waters with unavailable parameters means any segment of surface waters that has been identified by the division as failing to support its designated classified uses. A discharge that complies with the additional requirements set forth in Subpart 6.4 is not considered to cause measurable degradation of waters with unavailable parameters, unless the division determines upon review of the SWPPP that there is a reason to limit coverage as set forth in Subpart 1.3(d) and the SWPPPError! Hyperlink reference not valid. cannot be modified to bring the site into compliance.

- Discharges into Outstanding National Resource Waters - Discharges into waters that are designated by the Water Quality Control Board as Outstanding National Resource Waters (ONRW) pursuant to Tennessee Rules, Chapter 0400-40-03-.06(5), except activities conducted by, or on behalf of, the National Park Service on its own lands.

- Discharges into Exceptional Tennessee Waters - Discharges that would cause more than de minimisDE_MINIMIS degradation of water quality for any available parameter in waters designated by TDEC as Exceptional Tennessee Waters. A discharge that complies with the additional requirements set forth in Subpart 6.4 is not considered to cause more than de minimis degradation of available parameters unless the division determines upon review of the SWPPPError! Hyperlink reference not valid. that there is a reason to limit coverage as set forth in Subpart 1.3(d)) and the SWPPPError! Hyperlink reference not valid. cannot be modified to bring the site into compliance.

- Discharges not protective of aquatic or semi-aquatic threatened and endangered species, species deemed in need of management or special concern species - Discharges or discharge-related activities that are likely to jeopardize the continued existence of listed or proposed threatened or endangered aquatic species, or their critical habitat, under the Endangered Species Act (ESA), or other applicable state law or rule.

Discharges or conducting discharge-related activities that will cause a prohibited “take” of federally listed aquatic species (as defined under Section 3 of the ESA and 50 CFR §17.3) unless such take is authorized under Sections 7 or 10 of the ESA.

Discharges or conducting discharge-related activities that will cause a prohibited “take” of state listed aquatic species, unless such take is authorized under the provisions of T.C.A. § 70-8-106(e).

- Discharges from a new or proposed mining operation - Discharges from new or proposed mining operations are not authorized.

- Discharges into waters with an approved Total Maximum Daily Load - Discharges of a pollutant to waters for which there is an EPA-approved or established total maximum daily load (TMDL) for that pollutant, unless the SWPPPError! Hyperlink reference not valid. incorporates measures or controls consistent with the assumptions and requirements of the TMDL.

Any discharge of stormwater or other fluids to groundwater via an improved sinkhole or injection well requires a Class V Underground Injection Control authorization by rule, or an individual permit under the provisions of Tennessee Rules, Chapter 0400-45-06.

OBTAINING PERMIT COVERAGE

A complete NOI, Stormwater Pollution Prevention Plan (SWPPPError! Hyperlink reference not valid.) and application fee are required to obtain coverage under this general permit. Submitting for coverage under this permit means that an applicant has examined a copy of this permit and thereby acknowledged the applicant’s claim of ability to comply with permit terms and conditions.

Notice of Intent (NOI)

Operators wishing to obtain coverage under this permit must submit a complete NOI in accordance with Part 3, using the NOI form provided in Appendix A of this permit. Electronic submittal is encouraged (see NPDES Electronic Reporting for more information). The division may review NOIs and SWPPPError! Hyperlink reference not valid.s for completeness and accuracy and, when deemed necessary, investigate the proposed project for potential impacts to the waters of the state. Absent extraordinary circumstances, NOCs should be issued within 30 days of NOI submittal, unless the division has responded to the operator within that time requesting additional information. Permittees must obtain all required local authorizations related to stormwater management (see Section 1.4.4).

Stormwater Pollution Prevention Plan (SWPPP)

Operators wishing to obtain coverage under this permit must submit a site-specific SWPPPError! Hyperlink reference not valid. with the NOI, or sign and certify an existing site-specific SWPPP. The SWPPPError! Hyperlink reference not valid. shall address all of the operators’ construction-related activities from the date construction commences to the date of termination of permit coverage, to the maximum extent practicable. The SWPPPError! Hyperlink reference not valid. must address the total acreage planned to be disturbed, including any associated construction support activities (see Section 1.2.2). The SWPPPError! Hyperlink reference not valid. must be developed, implemented and updated according to the requirements in Part 5 and Section 6.4.1. The SWPPPError! Hyperlink reference not valid. must be implemented prior to commencement of construction activities.

SWPPPs must be updated or addended if site activities diverge significantly from those indicated in the initial SWPPP. A copy of the most recent version of the SWPPP must be available at the site.

Preparation and implementation of the SWPPPError! Hyperlink reference not valid. may be a cooperative effort with all operators at a site. New operators with design and operational control of their portion of the construction site are expected to adopt, modify, update and implement their portion of the SWPPPError! Hyperlink reference not valid.. Alternatively, permittees at the site may develop and submit a SWPPPError! Hyperlink reference not valid. addressing only their portion of the project, as long as the proposed Best Management Practices (BMPs) are compatible with the previously submitted SWPPPs, as updated, and complying with conditions of this general permit.

SWPPPError! Hyperlink reference not valid.s must be updated or addended if site activities diverge significantly from those indicated in the initial SWPPPError! Hyperlink reference not valid.. A copy of the most recent version of the SWPPPError! Hyperlink reference not valid. must be available at the site.

Site operators who are building single family residences on at-grade lots (see Section 2.1.2) and who are submitting an application for coverage under this permit, may complete and submit Form CN-1249, the Stormwater Pollution Prevention Plan (SWPPPError! Hyperlink reference not valid.) for Single Family Residential Homebuilding Sites. This SWPPPError! Hyperlink reference not valid. template is available on our website at:

http://tdec.tn.gov/etdec/DownloadFile.aspx?row_id=CN-1249.

Form CN-1249 is not appropriate if significant grading of the lot or lots is necessary.

Permit Application Fee

The permit application fee should accompany the applicant’s NOI form. The fee is based on the total acreage planned to be disturbed by an entire construction project for which the applicant is requesting coverage, including any associated construction support activities (see Section 1.2.2). The applicant may present documentation of areas in the project that will not be subject to disturbance at any time during the life of the project and have these areas excluded from the fee calculation.

The application fees shall be as specified in Tennessee Rules, Chapter 0400-40-11. The application will be deemed incomplete until the appropriate application fee is paid in full. Checks for the appropriate fee should be made payable to “Treasurer, State of Tennessee.” Electronic payment methods, if made available by the State of Tennessee, are acceptable and are encouraged. The following conditions apply:

- If stormwater discharges from the site or acreage to be disturbed was previously authorized by a CGP, but coverage has been since terminated, a primary operator must submit a new application for coverage under the CGP.

- A new primary operator seeking subsequent coverage under an actively permitted activity must submit the subsequent coverage fee to obtain coverage under an active NOC.

- Acreage additions up to 10% of the original plan area, but not to exceed a total of 5 acres, and other minor modifications of the original plan do not require separate NOI submittal. These minor additions require submittal of a plan indicating the additional area(s) of disturbance, the total acreage to be disturbed, and the updated SWPPP. The permittee is responsible for thoroughly and accurately identifying all waterbodies (including wetlands and streams) located on the added acreage and to provide a determination of the water’s status if not previously provided. An additional fee and updated NOI are required only if the total acreage of disturbance would require a higher fee than originally paid, and then only the difference is due. New acreage disturbances cannot be added as previously disturbed acreage is stabilized, to create a ‘rolling’ total of disturbance. Iterative changes that would create cumulative impact exceeding 10% of the original plan area, or a total of 5 acres require submittal of updated NOI and SWPPP to the division.

- In addition to the application fee, an annual maintenance fee applies per Tennessee Rules, Chapter 0400-40-11-.02(12)(i).

Submittal of Documents to Local Municipalities

Some permittees may discharge stormwater through an NPDES-permitted municipal separate storm sewer system (MS4) who are not exempted in Section 1.4.5. These permittees are encouraged to coordinate with the local MS4 authority prior to submitting an NOI to the division. Permitting status of all permittees covered, or previously covered, under this general permit as well as the most current list of all MS4 permits is available at:

http://tn.gov/environment/article/tdec-dataviewers.

Permittees must obtain all necessary authorizations pursuant to provisions of any local ordinances that apply to construction activities, and permittees are expected to comply with any additional erosion prevention, sediment control, and construction stormwater management measures required by a local municipality, county or permitted MS4 program.

Permit Coverage Through a Qualifying Local Program (QLP)

Coverage equivalent to coverage under this general permit may be obtained from a qualifying local erosion prevention and sediment control MS4 program. A Qualifying Local Program (QLP) is a municipal stormwater program implemented for stormwater discharges associated with construction activity that has been formally approved by the division. More information about Tennessee’s QLP program and MS4 participants can be found at:

https://www.tn.gov/environment/permit-permits/water-permits1/npdes-permits1/npdes-stormwater-permitting-program/tennessee-qualifying-local-program.html.

If a construction site is within the jurisdiction of, and has obtained a notice of coverage from, a QLP, the operator is authorized to discharge stormwater associated with construction activity under this general permit without the submittal of an application to the division. Permitting of stormwater runoff from construction sites from federal or state agencies (e.g., Tennessee Department of Transportation and Tennessee Valley Authority) and the local MS4 program itself will remain solely under the authority of TDEC.

The division may require any operator located within the jurisdiction of a QLP to obtain permit coverage directly from the division. The operator shall be notified in writing by the division that coverage by the QLP is no longer applicable and how to obtain coverage under this permit.

NOTICE OF COVERAGE

Permit Tracking Numbers

Construction activities covered under this permit will be assigned permit tracking numbers in the sequence TNR100001, TNR100002, etc. Permit tracking numbers assigned under a previous construction general permit will be retained. An operator applying for new permit coverage will be assigned a new permit tracking number. Assigning a permit tracking number by the division to a proposed discharge from a construction activity does not confirm or imply an authorization to discharge under this permit. Operators receiving new permit coverage will be listed as active on the TDEC Dataviewer.

Notice of Coverage (NOC)

The NOC is a notice from the division to the primary permittee informing them that the NOI, the SWPPPError! Hyperlink reference not valid., and the application fee were received and accepted. The primary permittee is authorized to discharge stormwater associated with construction activity as of the effective date listed on the NOC.

For new operators seeking subsequent coverage under an existing tracking number, the division will not issue a NOC. New operators that notify the division to be added to an existing coverage are covered upon receipt of notification of permit coverage by the division. The permit record reflecting the additional operator will be published on TDEC’s DataViewer in the next update.

The division reserves the right to deny coverage to artificial entities (e.g., corporations or partnerships, excluding entities not required to register with the Tennessee Secretary of State) that are not properly registered and in good standing (i.e., listed with an entity status of “active”) with the Tennessee Secretary of State, Division of Business Services. The division also reserves the right to issue permit coverage in the correct legal name of the individual or entity seeking coverage, including each general partner of a general partnership in addition to the general partnership.

Alterations to channels or waterbodies (see definition of streams) that are contained on, traverse through or are adjacent to the construction site are not authorized by this permit. Such alterations may require an Aquatic Resources Alteration Permit (ARAP):

https://www.tn.gov/environment/permit-permits/water-permits1/aquatic-resource-alteration-permit--arap-.html.

It is the responsibility of the applicant to thoroughly and accurately identify all waterbodies (see definition of streams) located on the site and to provide a determination of the water’s status.

For channels, this determination must be conducted in accordance with Tennessee’s standard operating procedures for hydrologic determinations set forth at Tennessee Rules, Chapter 0400-40-03.05(9). Wetlands determinations must include the submission of a wetland delineation completed utilizing the USACOE 1987 Wetlands Delineation Manual and applicable Regional Supplement. For the purposes of permitting, the permittee may choose to provide all aquatic features located on the site the protections afforded to streams and wetlands in lieu of conducting hydrologic determinations. ARAPs are independent requirements from CGP coverage and complete applications for ARAPs shall precede NOI submittal. The division reserves the right to delay or withhold issuance of coverage under the CGP in some cases until the appropriate ARAP coverage has been obtained.

The treatment and disposal of wastewater (e.g., sanitary, commercial or industrial wastewater) generated during and after the construction must be also addressed prior to issuance of the NOC. The NOC may be delayed until adequate wastewater treatment is identified and accompanying disposal permits are issued.

PART 2

CONSTRUCTION SITE OPERATORS

TYPES OF OPERATORS

Owner/Developer

An owner or developer of a project is a primary permittee. This person has operational or design control over construction plans and specifications, including the ability to make modifications to those plans and specifications. This person may include, but is not limited to, a developer, landowner, realtor, commercial builder, homebuilder, utility company, etc. This person may be an individual, a corporate entity, or a governmental entity. An owner’s or developer’s responsibility to comply with requirements of this permit extends until permit coverage is terminated in accordance with requirements of Part 9.

The site-wide permittee is the first primary permittee to apply for coverage for a construction activity. There may be other primary permittees for a project, but there is only one site-wide permittee. Where there are multiple operators associated with the same project, all operators are required to obtain permit coverage.  Once covered by a permit, each operator is responsible for complying with the permit. Permittees are jointly and severally liable for a violation related to construction activities that affect the same project site, unless a permittee affirmatively demonstrates to the satisfaction of the Department that its own action, or failure to act, was not a cause of the violation.

Commercial Builders

A commercial builder can be a primary or secondary permittee at a construction site.

A commercial builder who purchases one or more lots from a primary permittee for the purpose of constructing and selling a structure and has design or operational control over construction plans and specifications for that portion of the site, or is hired by an end user, such as a lot owner who may not be a permittee, must obtain coverage in one of the following ways:

- The site-wide permittee may transfer coverage to the commercial builder, for the entire site or just the acreage/lots the builder has purchased;

- The commercial builder may submit a new NOI for the acreage purchased, following requirements in Section 3.1.4; or

- The commercial builder may be hired by the primary permittee or a lot owner to build a structure, and by mutual agreement build on the site under the existing coverage of the site-wide permittee. In this case, the commercial builder signs the primary permittee’s NOI and SWPPP as a contractor (see Section 2.1.3) and is considered a secondary permittee.

Contractors

A contractor is considered a secondary permittee. This person has day-to-day operational control of the activities necessary to ensure compliance with the SWPPP or other permit conditions (e.g., the contractor is authorized to direct workers at a site to carry out activities required by the SWPPPError! Hyperlink reference not valid. or comply with other permit conditions). A contractor may be:

- a general contractor

- a grading contractor

- an erosion control contractor

- a sub-contractor responsible for land disturbing activities or erosion prevention and sediment control (EPSC) implementation and maintenance

- a commercial builder hired by the primary permittee.

The contractor may need to include in their contract with the party that hired them specific details for the contractor’s responsibilities concerning EPSC measures. This includes the ability of the contractor to make EPSC modifications. The contractor shall sign the primary permitee’s NOI and SWPPP associated with the construction project at which they will be an operator (insofar as possible), or submit a separate NOI to the division indicating their intent to be added to the existing activity coverage as an operator.

RESPONSIBILITIES OF OPERATORS

A permittee may meet one or more of the operational control components in the definition of “operator” found in Subpart 2.1. Either Section 2.2.1 or 2.2.2, or both, will apply depending on the type of operational control exerted by an individual permittee.

Permittees with Design Control

Permittees with operational control over construction plans and specifications at the construction site, including the ability to make modifications to those plans and specifications, must ensure that:

- the project specifications meet the minimum requirements of Part 5 (SWPPP) and all other applicable conditions;

- the SWPPP indicates the areas of the project where they have operational control;

- all other permittees implementing and maintaining portions of the SWPPPError! Hyperlink reference not valid. impacted by any changes made to the plan are notified of such modifications in a timely manner;

- all common BMPs (i.e., sediment treatment basin and drainage structures) necessary for the prevention of erosion or control of sediment are maintained and effective until all construction is complete and all disturbed areas in the entire project are stabilized, unless permit coverage has been obtained and responsibility has been taken over by a new primary permittee; and

- all operators on the site have permit coverage, if required.

If parties with day-to-day operational control of the construction site have not been identified at the time the site-wide SWPPPError! Hyperlink reference not valid. is initially developed, the permittee with operational control shall be considered to be the responsible person until an NOI is submitted identifying the new operators (see Section 3.1.4). These new operators (e.g., general contractor, utilities contractors, sub-contractors, erosion control contractors, hired commercial builders) are considered secondary permittees. The SWPPPError! Hyperlink reference not valid. must be updated to reflect the addition of new operators.

Permittees with Day-to-Day Operational Control

Permittees with day-to-day operational control of the activities necessary to ensure compliance with the SWPPP or other permit conditions must ensure that:

- the SWPPPError! Hyperlink reference not valid. for portions of the project where they are operators meets the requirements of Part 5 and identifies the parties responsible for implementing the control measures identified in the plan;

- the SWPPPError! Hyperlink reference not valid. indicates areas of the project where they have operational control over day-to-day activities; and

- measures in the SWPPPError! Hyperlink reference not valid. are adequate to prevent soil erosion and control any sediment that may result from their earth disturbing activity.

Permittees with operational control over only a portion of a larger construction project are responsible for compliance with all applicable terms and conditions of this permit as it relates to their activities on their portion of the construction site. This includes, but is not limited to, implementation of Best Management Practices (BMPs) and other controls required by the SWPPPError! Hyperlink reference not valid.. Permittees shall ensure either directly or through coordination with other permittees, that their activities do not render another person's pollution control ineffective. All permittees must implement their portions of the SWPPPError! Hyperlink reference not valid..

PART 3

NOTICE OF INTENT (NOI) REQUIREMENTS

NOI SUBMITTAL

Who Must Submit an NOI?

All operators must submit an NOI form. For the purpose of this permit and in the context of stormwater associated with construction activity, an “operator” means any person associated with a construction project who meets either or both of the following two criteria:

  - The person has operational control over construction plans and specifications, including the ability to make modifications to those plans and specifications. This person is considered the primary permittee and is typically:

- the owner or developer of the project,

- the owner or developer of a portion of the project (e.g., subsequent builder), or

- the person who is the current owner of the construction site.

  - The person has day-to-day operational control of the activities necessary to ensure compliance with the SWPPPError! Hyperlink reference not valid. or other permit conditions. This person is typically a contractor, or a commercial builder hired by the primary permittee, and is considered a secondary permittee.

Existing Sites

An operator presently permitted under the 2016 construction general permit shall be granted coverage under this new general permit. Coverage will be extended automatically without notification to the division or an additional fee being assessed. The existing SWPPP shall be modified according to the Section 5.3.1 of this permit.

If an operator does not wish to be continued under the new general permit, they may terminate coverage (Section 9.1). If a site with terminated coverage is unstable or if construction continues, a new NOI, SWPPPError! Hyperlink reference not valid. and application fee must be submitted.

New Sites or New Phases of Existing Sites

Except as provided in Section 3.1.4, operators must submit a complete NOI, SWPPPError! Hyperlink reference not valid. and an application fee in accordance with the requirements described in Subpart 1.4. The complete application should be submitted at least 30 days prior to commencement of construction activities. The permittee is authorized to discharge stormwater associated with construction activity as of the effective date listed on the NOC or the TDEC DataViewer. The land disturbing activities shall not start until the NOC is received by the applicant according to Subpart 1.5.

New Operators

New operators proposing to conduct construction activities at a site with existing coverage must submit an NOI. The NOI should be submitted prior to the new operator commencing work at the site. The NOI must reference the project name and tracking number assigned to the primary permittee’s NOI. The NOI may not need to be submitted immediately upon assuming operational control if the portion of the site controlled by the new operator is inactive and all the previously disturbed areas are permanently stabilized.

A new operator working as a residential home builder may submit Form CN-1249, the Stormwater Pollution Prevention Plan (SWPPPError! Hyperlink reference not valid.) for Single Family Residential Homebuilding Sites. This form may be found at:

http://tdec.tn.gov/etdec/DownloadFile.aspx?row_id=CN-1249.

If the primary permittee’s company name has changed (but not the site ownership or authorized signators), an updated NOI should be submitted to the division within 30 days of the name change, along with documentation that the name change has been properly registered with the Tennessee Secretary of State, Division of Business Services. If the new operator agrees to comply with an existing site-wide SWPPPError! Hyperlink reference not valid. already implemented at the site, a copy of the SWPPPError! Hyperlink reference not valid. does not have to be submitted with the NOI.

If the transfer of ownership is due to foreclosure or a permittee filing for bankruptcy proceedings, the new owner (e.g., a lending institution) must obtain permit coverage if the construction activity is inactive but soil is not stabilized sufficiently. If the property is sufficiently stabilized permit coverage may not be necessary, unless and until construction activity at the site resumes.

Late NOIs

Dischargers are not prohibited from submitting NOIs after construction at their site has already begun. When a late NOI is submitted, and if the division authorizes coverage under this permit, such authorization is only for future discharges. Any prior, unpermitted, discharges or permit noncompliances are subject to penalties as described in Section 8.1.2.

Who Must Sign the NOI?

All construction site operators as defined in Subpart 2.1 must sign the NOI form. Signatory requirements for a NOI are described in Section 8.7.1. Signatures on electronically submitted NOIs are deemed to be equivalent to a hardcopy signature. An NOI that does not bear a valid signature will be deemed incomplete.

FORMAT AND CONTENT OF THE NOI FORM

NOI Form

The NOI form is provided in Appendix A of this permit. This form and its instructions set forth the required content of the NOI. The NOI form must be filled in completely. If the division notifies applicants by mail, E-mail, public notice or by making information available on the world wide web of electronic NOI forms (see NPDES Electronic Reporting), the operators may be required to use those electronic options to submit the NOI (Section 3.3.2)

Owners, developers and contractors that meet the definition of the operator in Subpart 2.1 shall apply for permit coverage on the same NOI, if possible. The division may accept separate NOI forms from different operators for construction activities on the same construction site when warranted.

After permit coverage has been granted to the primary permittee, any subsequent NOI submittals must include the site’s previously assigned permit tracking number and the project name. The SWPPPError! Hyperlink reference not valid. shall be prepared in accordance with Part 5, and must be submitted with the NOI unless the NOI is only being submitted to add a secondary permittee to an existing coverage.

Construction Site Map

An excerpt (8 ½” by 11” or 11” by 17”) from the appropriate 7.5 minute United States Geological Survey (USGS) topographic map (or other map showing contours) with the proposed construction site centered, must be included with the NOI. The entire proposed construction area must be clearly outlined on the map, with all acreage to be disturbed clearly identified. All outfalls discharging runoff from the property, streams receiving the discharge, and storm sewer systems conveying the discharge from outfalls shall be clearly identified and marked on the map. NOIs for linear projects must specify the location of each end of the construction area and all areas to be disturbed. Commercial builders that develop separate SWPPPError! Hyperlink reference not valid.s that cover only their portion of the project shall also submit a site or plat map that clearly indicates the lots for which they are applying for permit coverage, and the location of EPSCs that will be used at each lot (Section 5.5).

WHERE AND HOW TO SUBMIT AN APPLICATION

Traditional Submittal

The applicant shall submit the NOI, SWPPPError! Hyperlink reference not valid. and application fee to the appropriate Environmental Field Office (EFO) for the county where the construction activity is located and where stormwater discharges enters waters of the state. If a site straddles a county line of counties that are in different EFO service areas, the operators shall send the NOI and the application fee to the EFO that provides coverage for the majority of the proposed construction activity.

A list of counties and the corresponding EFOs is provided in Subpart 3.4. The division’s Nashville Central Office will serve as a processing office for NOIs submitted by federal or state agencies (e.g., TDOT, TVA and the local MS4 programs).

Submittal Using Electronic Forms

The division is in the process of launching the new NPDES Electronic Reporting online customer portal for submission of permit applications and other reports. If the division notifies applicants by mail, E-mail, public notice or by making information available on the world wide web of electronic application submittal, the operators may be required to use those electronic options to submit the NOI, SWPPPError! Hyperlink reference not valid. and an application fee. For more information, visit https://www.tn.gov/environment/program-areas/wr-water-resources/netdmr-and-electronic-reporting.html.

TDEC ENVIRONMENTAL FIELD OFFICES (EFOS) AND CORRESPONDING COUNTIES

| EFO Name | List of Counties |
| --- | --- |
| Chattanooga | Bledsoe, Bradley, Grundy, Hamilton, Marion, McMinn, Meigs, Polk, Rhea, Sequatchie |
| Columbia | Bedford, Coffee, Franklin, Giles, Hickman, Lawrence, Lewis, Lincoln, Marshall, Maury, Moore, Perry, Wayne |
| Cookeville | Cannon, Clay, Cumberland, DeKalb, Fentress, Jackson, Macon, Overton, Pickett, Putnam, Smith, Trousdale, Van Buren, Warren, White |
| Jackson | Benton, Carroll, Chester, Crockett, Decatur, Dyer, Gibson, Hardin, Haywood, Henderson, Henry, Lake, Lauderdale, Madison, McNairy, Obion, Weakley |
| Johnson City | Carter, Greene, Hancock, Hawkins, Johnson, Sullivan, Unicoi, Washington |
| Knoxville | Anderson, Blount, Campbell, Claiborne, Cocke, Grainger, Hamblen, Jefferson, Knox, Loudon, Monroe, Morgan, Roane, Scott, Sevier, Union |
| Memphis | Fayette, Hardeman, Shelby, Tipton |
| Nashville | Cheatham, Davidson, Dickson, Houston, Humphreys, Montgomery, Robertson, Rutherford, Stewart, Sumner, Williamson, Wilson |

TDEC may be reached by telephone at the toll-free number 1-888-891-8332 (TDEC). Local EFOs may be reached directly when calling this number from the construction site, using a land line.

Part 4

CONSTRUCTION AND DEVELOPMENT EFFLUENT GUIDELINES

NON-NUMERIC EFFLUENT LIMITATIONS

Any point source authorized by this general permit must achieve, at a minimum, the effluent limitations representing the degree of effluent reduction attainable by application of best practicable control technology (BPT) currently available.

Erosion prevention and sediment controls

Design, install and maintain effective erosion and sediment controls to minimize the discharge of pollutants. At a minimum, such controls must be designed, installed and maintained to:

- Control stormwater volume and velocity to minimize soil erosion in order to minimize pollutant discharges;

- Control stormwater discharges, including both peak flowrates and total stormwater volume, to minimize channel and streambank erosion and scour in the immediate vicinity of discharge points;

- Minimize the amount of soil exposed during construction activity;

- Minimize the disturbance of steep slopes;

- Minimize sediment discharges from the site. The design, installation and maintenance of erosion and sediment controls must address factors such as the amount, frequency, intensity and duration of precipitation, the nature of resulting stormwater runoff, and soil characteristics, including the range of soil particle sizes expected to be present on the site;

- Provide and maintain natural buffers as described in Section 4.1.2, direct stormwater to vegetated areas and maximize stormwater infiltration to reduce pollutant discharges, unless infeasible;

- Minimize soil compaction. Minimizing soil compaction is not required where the intended function of a specific area of the site dictates that it be compacted; and

- Unless infeasible, preserve topsoil. Preserving topsoil is not required where the intended function of a specific area of the site dictates that the topsoil be disturbed or removed.

Water Quality Riparian Buffer Zone Requirements

The water quality riparian buffer zone requirements in this section apply to all streams with available parameters adjacent to construction sites (for waters with unavailable parameters or Exceptional Tennessee Waters, see Section 6.4.2). A 30-foot natural water quality riparian buffer shall be preserved between such waterbodies and the disturbed areas, to the maximum extent practicable, during construction activities. The water quality riparian buffer is required to protect waters of the state that are not wet weather conveyances as identified using Tennessee’s standard operating procedures for hydrologic determinations set forth in Tennessee Rules, Chapter 0400-40-03-.05(9). Because of the potential heavy sediment loading associated with construction site runoff, water quality riparian buffers are not primary sediment control measures and shall not be relied on as such; the primary purpose of water quality riparian buffers is additional pollutant removal. Stormwater discharges must enter the water quality riparian buffer zone as sheet flow, not as concentrated flow, where site conditions allow. Rehabilitation and enhancement of a natural buffer zone is allowed, if necessary, to improve its effectiveness in protecting waters of the state.

The water quality riparian buffer zone should be preserved between the top of stream bank and the disturbed construction area. The 30-foot criterion for the width of the buffer zone can be established on an average width basis at a project, as long as the minimum width of the buffer zone is more than 15 feet at any measured location. If the construction site encompasses both sides of a stream, buffer averaging can be applied to both sides, but each side must average the 30-foot criterion independently.

Construction activities within the water quality riparian buffer zone shall be avoided and existing forested buffer areas shall be preserved whenever possible. Where it is not practicable to maintain a full water quality riparian buffer, BMPs providing equivalent protection to a receiving stream as a natural water quality riparian buffer must be used. A justification for use and a design of equivalent BMPs shall be included in the SWPPPError! Hyperlink reference not valid.. Such equivalent BMPs are expected to be routinely used at construction projects typically located adjacent to surface waters. These projects may include sewer line construction, roadway construction, utility line or equipment installation, greenway construction, construction of a permanent outfall or a velocity dissipating structure.

This requirement does not apply to any valid Aquatic Resources Alteration Permit (ARAP), or equivalent permits issued by federal authorities. Additional buffer zone requirements may be established by the local MS4 program.

Water quality riparian buffer zone exemption based on existing uses

Water quality riparian buffer zones as described in Section 4.1.2 shall not be required in portions of the buffer where certain land uses exist and are to remain in place according to the following:

            - A use shall be considered existing if it was present within the buffer zone as of the date of the Notice of Intent for coverage under the construction general permit. Existing uses may include buildings, parking lots, roadways, utility lines and on-site sanitary sewage systems. Only the portion of the buffer zone that contains the footprint of the existing land use is exempt from buffer zones. Activities necessary to maintain uses are allowed provided that no additional vegetation is removed from the buffer zone.

            - If an area with an existing land use is proposed to be converted to another use or the impervious surfaces located within the buffer area are being removed, buffer zone requirements shall apply.

Pre-approved sites

Construction activity at sites that were pre-approved prior to February 1, 2010, is exempt from the buffer requirements of Section 4.1.2. Evidence of pre-approval for highway projects shall be a final right-of-way plan; and, for other construction projects, the final design drawings with attached written and dated approval by the local, state or federal agency with authority to approve such design drawings for construction.

Dewatering

Discharges from dewatering activities, including discharges from dewatering of trenches and excavations, are prohibited unless managed by appropriate controls. Appropriate controls may include weir tanks, dewatering tanks, gravity bag filters, sand media particulate filters, pressurized bag filters, cartridge filters or other control units providing the level of treatment necessary to comply with permit requirements.

Pollution Prevention Measures

The permittee must design, install, implement and maintain effective pollution prevention measures to minimize the discharge of sediment and other pollutants. At a minimum, such measures must be designed, installed, implemented and maintained to:

- Minimize the discharge of pollutants from equipment and vehicle washing, wheel wash water and other wash waters not containing soaps or solvents. Wash waters must be treated in a sediment basin or alternative control that provides equivalent or better treatment prior to discharge;

- Minimize the exposure of building materials, building products, construction wastes, trash, landscape materials, fertilizers, pesticides, herbicides, detergents, sanitary waste and other materials present on the site to precipitation and to stormwater; and

- Minimize the discharge of pollutants from spills and leaks, and implement chemical spill and leak prevention and response procedures.

Prohibited Discharges

The following discharges are prohibited:

- Wastewater from washout of concrete, unless managed by an appropriate control.

- Wastewater from washout and cleanout of stucco, paint, form release oils, curing compounds and other construction materials.

- Fuels, oils or other potential pollutants used in vehicle and equipment operation and maintenance.

- Soaps or solvents used in vehicle and equipment washing.

PART 5

STORMWATER POLLUTION PREVENTION PLAN (SWPPP) REQUIREMENTS

THE GENERAL PURPOSE OF THE SWPPP

A SWPPPError! Hyperlink reference not valid. must be prepared and submitted along with the NOI as required in Section 1.4.2. The primary permittee must implement the SWPPPError! Hyperlink reference not valid. and maintain effective Best Management Practices (BMPs) from commencement of construction activity until permanent stabilization is complete, or until the permittee does not have design or operational control of any portion of the construction site. If a SWPPPError! Hyperlink reference not valid. submittal contains contradictory or ambiguous information, the division will hold the permittee to the most stringent interpretation of the information submitted. Requirements for termination of site coverage are provided in Part 9.

A site-specific SWPPPError! Hyperlink reference not valid. must be developed for each construction project or activity covered by this permit. The design, inspection and maintenance of BMPs described in the SWPPPError! Hyperlink reference not valid. must be prepared in accordance with good engineering practices. At a minimum, BMPs shall be consistent with the recommendations contained in the current edition of the Tennessee Erosion and Sediment Control Handbook (the handbook).

Once a definable area has been permanently stabilized as described in Subsection 5.5.3.4, the permittee may identify this area on the SWPPPError! Hyperlink reference not valid.. No further SWPPPError! Hyperlink reference not valid. or inspection requirements apply to that portion of the site (e.g., earth-disturbing activities around one of three buildings in a complex are done and the area is permanently stabilized, one mile of a roadway or pipeline project is done and permanently stabilized, etc.).

For more effective implementation of BMPs, a cooperative effort by the different operators at a site to prepare and participate in a site-wide SWPPPError! Hyperlink reference not valid. is expected. Primary permittees at a site may develop separate SWPPPError! Hyperlink reference not valid.s that cover only their portion of the project. In instances where there is more than one SWPPPError! Hyperlink reference not valid. for a site, the permittees must ensure the stormwater discharge controls and other measures are compatible with one another and do not prevent another operator from complying with permit conditions. The site-wide SWPPPError! Hyperlink reference not valid. developed and submitted by the primary permittee must assign responsibilities to secondary permittees and coordinate all BMPs at the construction site. Assignment and coordination can be done by name or by job title.

QUALIFICATION REQUIREMENTS

For sites greater than five acres of disturbance, the narrative portion of the SWPPPError! Hyperlink reference not valid. shall be prepared by an individual who has a working knowledge of erosion prevention and sediment controls, such as (but not limited to):

- a registered engineer or landscape architect,

- a Certified Professional in Erosion and Sediment Control (CPESC) or

- a person that successfully completed the “Level II Design Principles for Erosion Prevention and Sediment Control for Construction Sites” course.

For sites less than or equal to five acres of disturbance, these qualification requirements do not apply, and the division provides the following optional templates:

- Form CN-1249, the Stormwater Pollution Prevention Plan (SWPPPError! Hyperlink reference not valid.) for Single Family Residential Homebuilding Sites. This SWPPPError! Hyperlink reference not valid. template is available at:

http://tdec.tn.gov/etdec/DownloadFile.aspx?row_id=CN-1249. Form CN-1249 is not appropriate if significant grading of the lot or lots is necessary.

- SWPPP Template for Sites Not Requiring Engineer Design from the DWR – NR – G – 02 - Construction Stormwater – 05172019 Guidance regarding construction stormwater general permit coverage involving sites with Non-Engineer Design SWPPPs: https://www.tn.gov/content/dam/tn/environment/water/policy-and-guidance/dwr-nr-g-02-cgp-non-engineering-swppp-final-051719.pdf Attachment A (template): https://www.tn.gov/content/dam/tn/environment/water/policy-and-guidance/dwr-nr-g-02-cgp-non-engineering-swppp-final-051719-template.docx.

Plans and specifications for any building or structure, changes in topography and drainage, including the design or modification of sediment basins or other sediment controls involving structural, hydraulic, hydrologic or other engineering calculations shall be prepared by a professional engineer or landscape architect registered in Tennessee and signed and sealed in accordance with the Tennessee Code Annotated, Title 62, Chapter 2 and the rules of the Tennessee Board of Architectural and Engineering Examiners. Engineering design of sediment basins or equivalent sediment controls must be provided for construction sites involving drainage to an outfall totaling 10 or more acres (Subsection 5.5.3.5) or 5 or more acres if draining to waters with unavailable parameters or Exceptional Tennessee Waters (Section 6.4.1).

SWPPP PREPARATION AND COMPLIANCE

Existing Sites

Operators of an existing site, presently permitted under the division’s 2016 construction general permit, shall maintain full compliance with the existing SWPPPError! Hyperlink reference not valid.. The existing SWPPPError! Hyperlink reference not valid. shall be modified, if necessary, to meet requirements of this new general permit, and the SWPPPError! Hyperlink reference not valid. changes implemented as soon as practicable but no later than 12 months following the new permit effective date. The permittee shall make the updated SWPPPError! Hyperlink reference not valid. available for the division’s review upon request.

New Sites or New Phases of Existing Sites

For construction stormwater discharges not authorized under an NPDES permit as of the effective date of this permit, a SWPPPError! Hyperlink reference not valid. that meets the requirements of Part 5 of this permit shall be prepared and submitted along with the NOI and an appropriate fee for coverage under this permit.

Signature Requirements

The SWPPP shall be signed by the operators in accordance with Subpart 8.7, and if applicable, certified according to requirements in Section 5.2. Signatures on electronically submitted documents are deemed equivalent to original signatures. A SWPPPError! Hyperlink reference not valid. that does not bear a valid signature will be deemed incomplete.

SWPPP Availability

A copy of the existing version of the SWPPPError! Hyperlink reference not valid. shall be retained on-site at the location which generates the stormwater discharge in accordance with Part 7 of this permit. If the site is inactive or does not have an onsite location adequate to store the SWPPPError! Hyperlink reference not valid., the location of the SWPPPError! Hyperlink reference not valid., along with a contact phone number, shall be posted on-site. If the SWPPPError! Hyperlink reference not valid. is located off-site, reasonable local access to the plan during normal working hours must be provided.

The permittee shall make the existing SWPPPError! Hyperlink reference not valid. and inspection reports available upon request to the director; the local agency approving erosion prevention and sediment control plans, grading plans, land disturbance plans or stormwater management plans; or the operator of an MS4.

KEEPING SWPPP CURRENT

SWPPP Modifications

The permittee must modify, update and recertify the SWPPPError! Hyperlink reference not valid. if any of the following conditions apply:

- Whenever there is a change in the scope of the project that would be expected to have a significant effect on the discharge of pollutants to the waters of the state and which has not otherwise been addressed in the SWPPPError! Hyperlink reference not valid..

- Whenever there is a change in chemical treatment methods, including the use of different treatment chemical, different dosage or application rate or different area of application.

- Whenever inspections or investigations by site operators or local, state or federal officials indicate the SWPPPError! Hyperlink reference not valid. is proving ineffective in eliminating or significantly minimizing pollutants from sources identified under Section 5.5.2, or is otherwise not achieving the general objectives of controlling pollutants in stormwater discharges associated with construction activity. Where local, state or federal officials determine that the SWPPPError! Hyperlink reference not valid. is ineffective in eliminating or significantly minimizing pollutant sources, a copy of any correspondence to that effect must be retained in the SWPPPError! Hyperlink reference not valid..

- Whenever any new operator (typically a secondary permittee) who will implement a measure of the SWPPPError! Hyperlink reference not valid. must be identified (see Subpart 3.1.1 for further description of which operators must be identified).

- Whenever it is necessary to include water quality protection measures as required by the applicable wildlife management agency intended to prevent a negative impact to legally protected state or federally listed fauna or flora (or species proposed for such protection – Subpart 1.3). Amendments to the SWPPPError! Hyperlink reference not valid. may be reviewed by the division, a local MS4, the EPA, or an authorized regulatory agency.

- Whenever a Total Maximum Daily Load (TMDL) is developed for the receiving waters for a pollutant of concern (e.g., siltation). A list of Tennessee’s TMDLs can be found at:

https://www.tn.gov/environment/program-areas/wr-water-resources/watershed-stewardship/tennessee-s-total-maximum-daily-load--tmdl--program.html.

COMPONENTS OF THE SWPPP

The SWPPPError! Hyperlink reference not valid. must:

  - identify all potential sources of pollutants likely to affect the quality of stormwater discharges from the construction site;

  - describe practices to be used to reduce pollutants in stormwater discharges from the construction site; and

  - assure compliance with the terms and conditions of this permit.

The SWPPPError! Hyperlink reference not valid. shall include the items described in Sections 5.5.1, 5.5.2 and 5.5.3.

SWPPP Narrative

Each SWPPPError! Hyperlink reference not valid. shall provide a description of pollutant sources and other information as indicated below:

- A description of all construction activities at the site, including the intended sequence of activities which disturb soils for major portions of the site (e.g., grubbing, excavation, grading, utilities and infrastructure installation).

- Estimates of the total area of the site and the total area that is expected to be disturbed by excavation, grading, filling or other construction activities.

- A description of the topography of the site, including an estimation of percent slope and delineation of drainage area (acres) serving each outfall. Drainage area estimates shall include off-site drainage, if applicable.

- Hydric soils must be clearly identified.

- A description of how the runoff will be handled to prevent erosion at the permanent outfall and receiving stream.

- An erosion prevention and sediment control (EPSC) plan with the proposed construction area clearly outlined. The plan shall indicate the boundaries of the permitted area, drainage patterns, approximate slopes anticipated after major grading activities, areas of soil disturbance, an outline of areas which are not to be disturbed, the location of major structural and nonstructural controls identified in the SWPPPError! Hyperlink reference not valid., the location of areas where stabilization practices are expected to occur, streams and sinkholes, and identification on the erosion control plan of outfall points intended for coverage. The erosion control plan must meet requirements stated in Section 5.5.3.

- A description of any discharge associated with industrial activity other than construction stormwater that originates on site and the location of that activity and its permit number.

- Identification of any streams on or adjacent to the project, a description of any anticipated alteration of these waters and the permit number or the tracking number of the Aquatic Resources Alteration Permit (ARAP) or Section 401 Certification issued for the alteration.

- The name of the receiving waters (this does not include wet weather conveyances connecting the site discharge to the receiving stream).

- Identification if those receiving waters have unavailable parameters for siltation.

- Identification if those receiving waters are Exceptional Tennessee Waters.

- If applicable, clearly identify and outline the buffer zones established to protect waters of the state located within the boundaries of the project.

- A description of the construction phasing for projects of more than 50 acres (Subsection 5.5.3.2).

- The timing of the planting of the vegetation cover must be discussed in the SWPPPError! Hyperlink reference not valid. if permanent or temporary vegetation is to be used as a control measure. Planting cover vegetation during winter months or dry months should be avoided.

SWPPP and EPSC plans

The SWPPPError! Hyperlink reference not valid. must include EPSC plans (Section 5.5.3) showing the approximate location of each control measure and a description of when the measure will be implemented during the construction process (e.g., prior to the start of earth disturbance, as the slopes are altered and after major grading is finished). The different stages of construction and the EPSC measures that will be utilized during each stage shall be depicted on multiple plan sheets as described below.

Three separate EPSC plan sheets should be developed for most sites, with the exception of single-lot homes, commercial lots, or linear infrastructure projects of less than or equal to 5 acres, for which a single plan sheet may be sufficient:

  - The first plan sheet will address the EPSC measures necessary to manage stormwater runoff, erosion and sediment during the initial land disturbance (grading) stage.

  - A second plan sheet will address the EPSC measures necessary to manage stormwater runoff, erosion and sediment during any interim grading and construction stages.

  - The third plan sheet will address the EPSC measures necessary to manage stormwater runoff, erosion and sediment during the final grading stage while permanent site stabilization is being achieved.

The description and implementation of controls shall address the following minimum components, as described in Sections 5.5.3, 5.5.3.6 and 5.5.3.7. Additional controls may be necessary to comply with Section 6.3.2.

Erosion Prevention and Sediment Controls (EPSC)

General criteria and requirements

- The erosion prevention controls shall be designed to eliminate to the maximum extent practicable the dislodging and suspension of soil in water. Sediment controls shall be designed to retain mobilized sediment on site to the maximum extent practicable.

- All control measures must be properly selected, installed and maintained in accordance with the manufacturer’s specifications and/or good engineering practices. If periodic inspections or other information indicate a control has been used inappropriately, or incorrectly, the permittee must replace or modify the control.

- If sediment escapes the permitted area, off-site accumulations that have not reached a stream must be removed at a frequency sufficient to minimize off-site impacts (e.g., sediment that has escaped a construction site and collected in a street must be removed so that it does not subsequently wash into storm sewers and streams during the next rain or so that it does not pose a safety hazard to users of public streets). Permittees shall not initiate remediation or restoration of a stream without receiving prior authorization from the division. This permit does not authorize access to private property. Arrangements concerning the removal of sediment on adjoining property must be settled by the permittee and the adjoining landowner.

- Sediment must be removed from sediment traps, silt fences, sediment basins and other sediment controls when design capacity has been reduced by 50%.

- Erodible material storage areas (e.g., overburden and stockpiles of soil) and borrow pits that are used primarily for the permitted project are considered a part of the site and shall be identified on the NOI, addressed in the SWPPPError! Hyperlink reference not valid. and included in the fee calculation. TDOT projects shall be addressed in the Waste and Borrow Manual per the Statewide Stormwater Management Plan (SSWMP).

- Pre-construction vegetative ground cover shall not be destroyed, removed or disturbed more than 14 days prior to commencement of grading or earth moving activities unless the area is subsequently temporarily or permanently stabilized.

- Clearing and grubbing must be held to the minimum necessary for grading and equipment operation. Existing vegetation at the site shall be preserved to the maximum extent practicable. The limits of soil disturbance shall be clearly outlined in the SWPPPError! Hyperlink reference not valid. and the areas to remain undisturbed clearly indicated on the site, with the methods to be used to mark these areas described in the SWPPPError! Hyperlink reference not valid..

- Construction must be sequenced to minimize the exposure time of graded or denuded areas.

- EPSC measures must be in place and functional before earth moving operations begin and must be constructed and maintained throughout the construction period stages as appropriate. Temporary measures may be removed at the beginning of the workday but must be replaced at the end of the workday.

- Off-site vehicle tracking of sediment and the generation of dust shall be minimized. A stabilized construction access shall be described and implemented to reduce the tracking of mud and dirt onto public roads by construction vehicles.

Construction phasing

Construction phasing is recommended on all projects regardless of size as an effective practice for minimizing erosion and limiting sedimentation. It is recommended that construction be phased to keep the total disturbed area less than 50 acres at any one time. This includes off-site borrow or disposal areas that meet the conditions of Section 1.2.2. Areas where construction is completed must be stabilized within 14 days (Subsection 5.5.3.4).

Projects Exceeding 50 acres of Disturbance

On projects where the permittee chooses to disturb more than 50 acres at one time, the following additional requirements shall apply:

- The permittee shall notify the division immediately if more than 50 acres of disturbance at one time is planned.

- Site assessments, as described in Subsection 5.5.3.8, shall be conducted on a quarterly basis.

- Operator inspections as described in Subsection 5.5.3.9 shall be conducted twice per week and following any rainfall event of more than 0.5 inches in 24 hours. Inspections following rainfall events can be counted as one of the twice-weekly inspections.

- Data describing the erodibility of soils on site, how the soil type erodibility will dictate the needed control measures and how the soil may affect the expected quality of runoff from the site shall be provided. The data may be referenced or summarized. Hydric soils must be clearly identified.

- A geospatial file shall be submitted to the division which identifies the project area boundaries as a polygon feature. This polygon feature can be submitted in any common data format (e.g., .kml file, shapefile, feature layer, etc.) that is compatible with common geographic systems software (e.g., Google Earth, ESRI, QGIS, etc.). The file name should reflect the same site name provided on the permit application, or a permit tracking number, if available.

- Stormwater runoff monitoring shall be conducted at each outfall draining 10 or more acres (Section 5.5.3.5) or 5 or more acres if draining to waters with unavailable parameters or Exceptional Tennessee Waters (Section 6.4.1).

| Code | Parameter | Qualifier | Unit | Sample Type | Monitoring Frequency | Statistical Base |
| --- | --- | --- | --- | --- | --- | --- |
| 00070 | Turbidity | Report | NTU | Grab | Monthly | Daily Maximum |
| 00070 | Turbidity | Report | NTU | Grab | Monthly | Monthly Average |
| 00530 | Total Suspended Solids (TSS) | Report | mg/L | Grab | Monthly | Daily Maximum |
| 00530 | Total Suspended Solids (TSS) | Report | mg/L | Grab | Monthly | Monthly Average |
| 45613 | Floating solids or visible foam-visual | Report | Y=1;N=0 | Visual | Monthly | Value |
| 50050 | Flow | Report | MGD | Estimate | Monthly | Daily Maximum |
| 50050 | Flow | Report | MGD | Estimate | Monthly | Monthly Average |

The permittee shall maintain a log of rainfall events including date, estimated duration (in hours), and total estimated rainfall per calendar day. For sampling events, the permittee shall provide an estimate of the total volume of the discharge per sampled outfall and the interval between the storm event sampled and the end of the previous measurable (greater than 0.1 inch rainfall) storm event.

The permittee shall report the estimated total drainage area and estimated acreage of land disturbance in the drainage area for each outfall for each sampling event. Record of the estimated drainage area and amount of land disturbance for a given sample event shall be reported in the notes section of the Discharge Monitoring Report.

Stabilization practices

The SWPPPError! Hyperlink reference not valid. shall include a description of temporary and permanent stabilization practices, including site-specific scheduling of the implementation of the practices. Site plans should ensure that existing vegetation is preserved when possible. Stabilization practices may include: temporary seeding, permanent seeding, mulching, geotextiles, sod stabilization, vegetative buffer strips, protection of trees and the preservation of mature vegetation. When seasonal or climate conditions would prevent timely establishment of vegetation other stabilization practices must be utilized. Use of impervious surfaces for permanent stabilization in lieu of a permanent vegetative cover should be avoided where practicable. No stabilization control measures or EPSC measures are to be installed in a stream without obtaining a Section 404 permit and an Aquatic Resources Alteration Permit (ARAP).

Stabilization measures shall be initiated as soon as possible in portions of the site where construction activities have temporarily or permanently ceased. Temporary or permanent soil stabilization at the construction site must be completed within 2 weeks after the construction activity in that portion of the site has temporarily or permanently ceased. In the following situations, temporary stabilization measures are not required:

- Where the initiation of stabilization measures is precluded by snow cover or frozen ground conditions or adverse soggy ground conditions, stabilization measures shall be initiated as soon as practicable.

- Where construction activity on a portion of the site is temporarily ceased, but soil disturbing activities is planned to resume within 2weeks.

- In arid, semiarid, and drought-stricken areas where initiating vegetative stabilization measures immediately is infeasible, alternative stabilization measures such as properly anchored mulch, soil binders or matting must be employed.

Steep slopes shall be stabilized within one week after construction activity on the slope has temporarily or permanently ceased.

Permanent stabilization with perennial vegetation (using native herbaceous and woody plants where practicable) or other permanently stable, non-eroding surface shall replace any temporary measures as soon as practicable. Unpacked gravel containing fines (silt and clay sized particles) or crusher runs will not be considered a non-eroding surface. On sites where disturbed acreage will be returned to its prior agricultural use (i/e. row crops, pasture) normal agricultural practices can be substituted.

Structural practices

The SWPPPError! Hyperlink reference not valid. shall include a description of structural practices utilized to divert flows from exposed soils, store flows or otherwise limit runoff and discharge of pollutants from exposed areas of the site. Such practices may include, but are not limited to silt fences, earth dikes, drainage swales, sediment traps, check dams, subsurface drains, pipe slope drains, level spreaders, storm drain inlet protection, rock outlet protection, reinforced soil retaining systems, gabions and temporary or permanent sediment basins. Structural controls shall not be placed in streams except as authorized by a section 404 permit and/or Aquatic Resources Alteration Permit (ARAP).

EPSC measures shall be designed to minimize erosion and maximize sediment removal resulting from a 2-year, 24-hour storm (the design storm). The design of erosion prevention and sediment controls must adhere to good engineering practices. The drainage area recommendations and treatment design specifications are provided in the Tennessee Erosion and Sediment Control Handbook. Chemical treatment of the stormwater runoff may be necessary to minimize the amount of sediment being discharged when clay and other fine particle soils or highly erodible soils are present at the construction site. However, the use of cationic polymers for treatment is prohibited.

For an outfall that receives drainage from 10 or more acres, a minimum sediment basin volume that will provide treatment for a calculated volume of runoff from a 2-year, 24-hour storm and runoff from each acre drained, or equivalent control measures as specified in the Tennessee Erosion and Sediment Control Handbook, shall be provided until permanent stabilization of the site. A drainage area of 10 or more acres includes disturbed and undisturbed portions of the site and areas adjacent to the site, all draining through the common outfall. Where an equivalent control measure is substituted for a sediment basin, the equivalency (with respect to sediment removal) must be justified to the division. Runoff from any undisturbed acreage should be diverted around the disturbed area and the sediment basin. Diverted runoff can be omitted from the volume calculation. Sediment storage expected from the disturbed areas must be included. Discharges from basins and impoundments shall utilize outlet structures that only withdraw water from near the surface of the basin or impoundment, unless infeasible.

All calculations related to drainage areas, runoff coefficients,basin volumes and equivalent control measures must be provided in the SWPPPError! Hyperlink reference not valid.. The discharge structure from a sediment basin must be designed to retain sediment during the lower flows in accordance with the most current version of the Tennessee Erosion and Sediment Control Handbook. Muddy water to be pumped from excavation and work areas must be held in settling basins, filtered or chemically treated prior to its discharge into surface waters. Water must be discharged through a pipe, grassed or lined channel or other equivalent means so that the discharge does not cause erosion and sedimentation. Discharged water must not cause an objectionable color contrast with the receiving stream.

Sediment structures treating drainage areas in excess of 25 acres require a site-specific design that accurately defines the site hydrology, site-specific sediment loading, hydraulics of the site, and adheres to all Tennessee Erosion and Sediment Control Handbook design recommendations for sediment basins.

Velocity dissipation structures shall be installed if needed to provide for non-erosive discharge velocities to wet weather conveyances or streams.

Stormwater management

The following factors must be accounted for in the design of all stormwater controls:

- The nature of stormwater runoff and run-on at the site, including factors such as expected flow from impervious surfaces, slopes, and site drainage features. Stormwater controls must be designed to control stormwater volume, velocity, and peak flow rates to minimize discharges of pollutants in stormwater, as well as minimizing channel and streambank erosion at discharge points.

- The soil type and range of soil particle sizes expected to be present on the site.

- Description of any measures that will be installed during the construction process to control pollutants in stormwater discharges that will occur after construction operations have been completed, including a brief description of applicable State or local erosion and sediment control requirements.

Other items needing control

- No solid materials, including building materials, shall be placed in waters of the state, except as authorized by a section 404 permit and/or Aquatic Resources Alteration Permit (ARAP). Litter, construction debris and construction chemicals exposed to stormwater shall be picked up prior to storm events or before being carried off the site by wind so that they do not become a pollutant source for stormwater discharges. EPSC materials shall be prevented from becoming a pollutant source for stormwater discharges.

- The SWPPPError! Hyperlink reference not valid. shall identify and provide the necessary EPSC measures for the installation of any waste disposal system, sanitary sewer or septic system. Permittees must also comply with applicable state and local waste disposal, sanitary sewer or septic system regulations as necessary.

- The SWPPPError! Hyperlink reference not valid. shall include a description of construction and waste materials expected to be stored on-site. The SWPPPError! Hyperlink reference not valid. shall also include a description of controls used to reduce pollution from materials stored on site. Controls may include storage practices to minimize exposure of the materials to stormwater or spill prevention and response.

Site Assessments

Site assessment shall be conducted at each outfall draining 10 or more acres (Section 5.5.3.5) or 5 or more acres if draining to waters with unavailable parameters or Exceptional Tennessee Waters (Section 6.4.1). The site assessment is a documented site inspection conducted by a qualified individual to verify the installation, functionality and performance of the EPSC measures described in the SWPPP. Site assessments shall cover the entire disturbed area and occur within 30 days of construction commencing at each portion of the site that drains the qualifying acreage. The site assessment shall be performed by individuals with one or more of the following qualifications:

    - A licensed professional engineer or landscape architect;

    - A Certified Professional in Erosion and Sediment Control (CPESC); or

    - A person who has successfully completed the “Level II Design Principles for Erosion Prevention and Sediment Control for Construction Sites”

At a minimum, site assessments should be performed to verify the installation, functionality and performance of the EPSC measures described in the SWPPP. If structural BMPs (or equivalent EPSC measures) are not constructed or construction is in progress at the time of the site assessment, a follow-up monthly assessment(s) are required until the BMPs are constructed per the SWPPP. The site assessment should be performed with the inspector and should include a review and update (if applicable) of the SWPPP. Modifications of plans and specifications for any building or structure, including the design of sediment basins or other sediment controls involving structural, hydraulic, hydrologic or other engineering calculations shall be prepared by a licensed professional engineer or landscape architect and stamped and certified in accordance with the Tennessee Code Annotated, Title 62, Chapter 2 and the rules of the Tennessee Board of Architectural and Engineering Examiners.

Inspections

Operators shall ensure proper installation, maintenance, and overall effectiveness of erosion prevention and sediment controls (EPSCs) by performing twice weekly site inspections. Inspections must verify and document the functionality and performance of the EPSC measures described in the SWPPPError! Hyperlink reference not valid.. Initial inspections shall also indicate if all EPSCs have been installed as designed in the submitted SWPPPError! Hyperlink reference not valid. and EPSC plans; and, if not, measures that need to be taken so those EPSCs meet the design specifications in the field SWPPPError! Hyperlink reference not valid. and EPSC plans.

Inspector qualifications

Twice weekly inspections can be performed by:

- a person with a valid certification from the “Level I - Fundamentals of Erosion Prevention and Sediment Control” course,

- a licensed professional engineer or landscape architect,

- a Certified Professional in Erosion and Sediment Control (CPESC), or

- a person who has successfully completed the “Level II - Design Principles for Erosion Prevention and Sediment Control for Construction Sites” course.

An inspector performs and documents the required inspections, paying particular attention to time-sensitive permit requirements, such as stabilization and maintenance activities.

Schedule of inspections

- Inspections described in paragraphs b, c and d below, shall be performed at least twice weekly. Inspections shall be performed at least 72 hours apart. Where sites or portions of construction sites have been temporarily stabilized, inspections only have to be conducted once per month until construction activity resumes. Inspection requirements do not apply to definable areas that have been permanently stabilized. Changes to the inspection frequency and the justification for such request must be included in the records kept on site. For projects by the Tennessee Department of Transportation (TDOT) and the Tennessee Valley Authority (TVA), such request must be submitted to the division’s Nashville Central Office. The division reserves the right to require more frequent inspections if deemed necessary to ensure compliance at a site.

- Qualified personnel, as defined in Subsection 5.5.3.10 (provided by the permittee or cooperatively by multiple permittees), shall inspect disturbed areas of the construction site that have not been permanently stabilized, areas used for storage of materials that are exposed to precipitation, structural control measures, locations where vehicles enter or exit the site and each outfall.

- Disturbed areas and areas used for storage of materials that are exposed to precipitation shall be inspected for evidence of, or the potential for, pollutants entering the site’s drainage system. EPSC measures shall be observed to ensure that they are operating correctly.

- Outfall points shall be inspected to determine whether EPSC measures are effectively preventing sediment discharges off-site or impacts to receiving waters. Where discharge locations are inaccessible, nearby downstream locations shall be inspected. Locations where vehicles enter or exit the site shall be inspected for evidence of offsite sediment tracking.

- Based on the results of the inspection, any inadequate control measures or control measures in disrepair shall be replaced, modified or repaired as necessary, before the next rain event; but in no case more than seven days after the need is identified.

- Based on the results of the inspection, the site description identified in the SWPPPError! Hyperlink reference not valid. in accordance with Section 5.5.1 and pollution prevention measures identified in the SWPPPError! Hyperlink reference not valid. in accordance with Section 5.5.3 shall be revised as appropriate. Such revisions shall be made no later than seven days following the inspection. In addition, any modifications to pollution prevention measures shall be implemented as soon as practicable but no later than 14 days following the inspection.

- All inspections shall be documented on the Construction Stormwater Inspection Certification Form provided in Appendix C of this permit. An alternative inspection form may be used as long as the form contents and the inspection certification language are equivalent to the division’s form and the permittee has obtained a written approval from the division to use the alternative form. The form must contain the printed name and signature of the inspector and the certification must be executed by a person who meets the signatory requirements of Section 8.7.2. Inspection reports must be submitted to the division within 10 days of the request.

- Inspectors shall accurately document site conditions in their inspection reports. Falsifying inspection records, or other documentation; or failure to complete inspection documentation shall result in a violation of this permit and any other applicable acts or rules.

- The initial primary permittee (such as a developer) is no longer required to inspect portions of the site that are covered by a subsequent primary permittee (such as a home builder). Subsequent primary permittees who have obtained coverage under this permit shall conduct twice weekly inspections as per the requirements in Subsection 5.5.3.9.

Pollution prevention measures for non-stormwater discharges

The SWPPPError! Hyperlink reference not valid. must identify source(s) of all non-stormwater discharge(s) listed in Section 1.2.3 if it is to be combined with stormwater discharges associated with construction activity. The SWPPPError! Hyperlink reference not valid. shall identify and ensure the implementation of appropriate pollution prevention measures for the non-stormwater components of the discharge. Any non-stormwater must be discharged through stable discharge structures. Estimated volume of the non-stormwater components of the discharge must be included in the design of all impacted control measures.

PART 6

SPECIAL CONDITIONS, MANAGEMENT PRACTICES, AND OTHER NON-NUMERIC LIMITATIONS

RELEASES IN EXCESS OF REPORTABLE QUANTITIES

The discharge of hazardous substances or oil in the stormwater discharges from a facility shall be prevented or minimized in accordance with the applicable SWPPPError! Hyperlink reference not valid. for the facility. This permit does not relieve the permittee of the reporting requirements of 40 CFR 117 and 40 CFR 302.

SPILLS

This permit does not authorize the discharge of hazardous substances or oil resulting from an on-site spill.

DISCHARGE COMPLIANCE WITH STATE WATER QUALITY STANDARDS

Violation of water quality standards

This permit does not authorize stormwater or other discharges that would cause or contribute to a violation of a state water quality standard (Tennessee State Rules, Chapters 0400-40-03, 0400-40-04). Such discharges constitute a violation of this permit.

Where a discharge is already authorized under this permit and the division determines the discharge to cause or contribute to the violation of applicable state water quality standards, the division will notify the operator of such violations. The permittee shall take all necessary actions to ensure future discharges do not cause or contribute to the violation of a water quality standard and shall document these actions in the SWPPPError! Hyperlink reference not valid..

Discharge quality

        - The construction activity shall be carried out in such a manner that will prevent violations of water quality criteria as stated in the Tennessee Rules, Chapter 0400-40-03-.03. This includes, but is not limited to, the prevention of any discharge that causes a condition in which visible solids, bottom deposits or turbidity impair the usefulness of waters of the state for any of the uses designated for that water body by Tennessee Rules, Chapter 0400-40-04. Construction activity carried out in the manner required by this permit shall be considered in compliance with the Tennessee Rules, Chapter 0400-40-03-.03.

        - There shall be no distinctly visible solids, scum, foam, oily slick, or the formation of slimes, bottom deposits, or sludge banks of such size or character as may be detrimental to fish and aquatic life.

        - The stormwater discharge must not contain total suspended solids, turbidity, or color in such amounts or character that will result in any objectionable appearance compared to the turbidity or color of the receiving water, considering the nature and location of the water.

        - The stormwater discharge shall not contain pollutants in quantities that will be hazardous or otherwise detrimental to humans, livestock, wildlife, plant life, or fish and aquatic life in the receiving stream. This provision includes species covered under Subpart 1.3.

        - Solids or other materials removed by any sediment control treatment devices must be disposed of in a manner that prevents its entrance into or pollution of any surface or subsurface waters.

DISCHARGES INTO WATERS WITH UNAVAILABLE PARAMETERS OR EXCEPTIONAL TENNESSEE WATERS

SWPPP/BMP Requirements

- Discharges that would cause measurable degradation of waters with unavailable parameters or that would cause more than de minimis degradation of Exceptional Tennessee Waters are not authorized by this permit (Subpart 1.3). To be eligible to obtain and maintain coverage under this permit, the operator must satisfy, at a minimum, the following additional requirements for discharges into waters with unavailable parameters for siltation and for discharges to Exceptional Tennessee Waters. All other provisions of this general permit that apply to receiving waters with available parameters shall also apply.

- The SWPPPError! Hyperlink reference not valid. must certify that EPSC measures used at the site are designed to control stormwater runoff generated by a 5-year, 24-hour storm event (the design storm), at a minimum, either from total rainfall in the designated period or the equivalent intensity as specified on the following website https://hdsc.nws.noaa.gov/hdsc/pfds/pfds_map_cont.html.

- The permittee shall perform inspections described in Section 5.5.3.9 at least twice every calendar week. Inspections shall be performed at least 72 hours apart.

- If the division finds that an operator is contributing to the impairment of a receiving stream despite complying with the SWPPPError! Hyperlink reference not valid., the operator will be notified by the division in writing that the discharge is no longer eligible for coverage under the general permit. The operator may update the SWPPPError! Hyperlink reference not valid. and implement the necessary changes designed to eliminate further impairment of the receiving stream. If the permittee does not implement the SWPPPError! Hyperlink reference not valid. changes within seven days of receipt of notification, the permittee will be notified in writing that continued discharges must be covered by an individual permit (Subpart 8.11). To obtain the individual permit, the operator must file an individual permit application and submit an updated SWPPP. The project must be stabilized immediately and remain stable until the SWPPPError! Hyperlink reference not valid. is updated and the individual permit is issued. Only discharges from earth disturbing activities necessary for stabilization are authorized to continue until the individual permit is issued.

- For an on-site outfall in a drainage area totaling five or more acres, a minimum sediment basin volume that will provide treatment for a calculated volume of runoff from a 5-year, 24-hour storm and runoff from each acre drained; or equivalent control measures as specified in the Tennessee Erosion and Sediment Control Handbook, shall be provided until permanent stabilization of the site.

- For an on-site outfall in a drainage area totaling 3.5 - 4.9 acres, a minimum sediment trap volume or engineering equivalent that will provide treatment for a calculated volume of runoff from a 5-year, 24-hour storm and runoff from each acre drained, is required until permanent stabilization of the site. A drainage area of 3.5 - 4.9 acres includes both disturbed and undisturbed portions of the site or areas adjacent to the site, all draining through the common outfall.

Water Quality Riparian Buffer Zone Requirements

Sites that contain, or are adjacent to, receiving waters with unavailable parameters for siltation or designated as Exceptional Tennessee Waters shall preserve a 60-foot natural water quality riparian buffer zone adjacent to the receiving stream. All other buffer zone requirements as stated in Section 4.1.2 will apply.

The natural water quality riparian buffer zone shall be preserved between the top of stream bank and the disturbed construction area. The 60-foot criterion for the width of the buffer can be established on an average width basis at a project, as long as the minimum width of the buffer is more than 30 feet at any measured location. If the construction site encompasses both sides of a stream, buffer averaging can be applied to both sides, but each side must average the 60-foot criterion independently.

This requirement does not apply to an area that is being altered under the authorization of a valid Aquatic Resources Alteration Permit (ARAP), or equivalent permits issued by federal authorities. Additional natural buffer zone requirements may be established by the local MS4 program.

PART 7

RETENTION, ACCESSIBILITY AND SUBMISSION OF RECORDS

DOCUMENTS

The primary permittee shall retain copies of SWPPPError! Hyperlink reference not valid.s, reports required by this permit, records of all data used to complete the NOI and the NOT for a period of at least three years from the date the NOT is submitted. This period may be extended by written request of the director.

ACCESSIBILITY AND RETENTION OF RECORDS

The permittee shall retain a copy of the SWPPPError! Hyperlink reference not valid. and a copy of the permit at the construction site (or other location accessible to the division) from the date construction commences to the date of termination of permit coverage. Permittees with day-to-day operational control over SWPPPError! Hyperlink reference not valid. implementation shall have a copy of the SWPPPError! Hyperlink reference not valid. available at a central location onsite for the use of all operators and those identified as having responsibilities under the plan whenever they are on the construction site.

Posting Information at the Construction Site

A notice shall be posted near the main entrance of the construction site visible to the public with the following information:

- a copy of the NOC with the NPDES permit tracking number for the construction project;

- a name or company name; E-mail address (if available); telephone number and address of the project site owner/operator or a local contact person; and

- the location of the SWPPPError! Hyperlink reference not valid. (Subpart 7.2).

The notice must be maintained in a legible condition. The notice shall be posted in a local public building if posting this information near a main entrance is infeasible due to safety concerns or if the site is not accessible to the public. If the construction project is a linear construction project (e.g., pipeline or highway), the notice must be placed in a publicly accessible location near where construction is actively underway and moved as necessary. This permit does not provide the public with any right to trespass on a construction site for any reason, including inspection of a site. This permit does not require permittees to allow members of the public access to a construction site.

The permittee shall also retain the following items in an appropriate location on-site (or other location accessible to the division):

- A rain gauge (or use a reference site for a record of daily precipitation) and accurate rainfall records;

- A copy of all required inspection reports; and

- Records of the dates when major grading activities occur, when construction activities temporarily or permanently cease on a portion of the site, and when stabilization measures are initiated.

ELECTRONIC SUBMISSION OF DOCUMENTS

This permit requires the submission of forms developed by the director in order for a person to comply with certain requirements, including, but not limited to, making reports, submitting inspection findings, applying for permit coverage and requesting for termination of permit coverage. The director may make these forms available electronically and, if submitted electronically, then that electronic submission shall comply with the requirements of Chapter 0400-01-40. Electronic submission may be required when available, unless waived by the Commissioner in accordance with 40 C.F.R. § 127.15.

If the division notifies applicants by mail, E-mail, public notice or by making information available on the world wide web of electronic forms (see NPDES Electronic Reporting), the operators may be required to use those electronic options to submit the NOI (Section 3.3.2)

In the event of large-scale emergencies and/or prolonged electronic reporting system outages, an episodic electronic reporting waiver may be granted by the Commissioner in accordance with 40 CFR § 127.15. A request for a deadline extension or episodic electronic reporting waiver should be submitted to DWRWater.Compliance@tn.gov, in compliance with the Federal NPDES Electronic Reporting Rule.

In the event that NPDES Electronic Reporting is not functioning, the permittee shall comply with reporting conditions by mailing reports with wet-ink original signatures shall to the following address:

STATE OF TENNESSEE

DEPARTMENT OF ENVIRONMENT AND CONSERVATION

DIVISION OF WATER RESOURCES

COMPLIANCE & ENFORCEMENT UNIT

William R. Snodgrass - Tennessee Tower

312 Rosa L. Parks Avenue, 11th Floor

Nashville, Tennessee 37243-1102

For purposes of determining compliance with this permit, data provided to the division electronically is legally equivalent to data submitted on signed and certified forms. A copy must be retained for the permittee’s files.

Monitoring Results

Monitoring results (if applicable, for projects exceeding 50 acres of disturbance at one time, see Subsection 5.5.3.3) shall be recorded monthly and submitted monthly using NetDMR. Submittals shall be no later than 15 days after the completion of the reporting period. If NetDMR is not functioning, a completed DMR with an original signature shall be submitted to the address for Compliance and Enforcement Unit as listed in the Subpart 7.3 above. The first DMR is due on the 15th of the month following permit effectiveness.

DMRs must be signed and certified by a responsible corporate officer as defined in Tennessee Rule 0400-40-05-.05(6), a general partner or proprietor, or a principal municipal executive officer or ranking elected official, or his duly authorized representative. Such authorization must be submitted in writing and must explain the duties and responsibilities of the authorized representative.

PART 8

STANDARD PERMIT CONDITIONS

DUTY TO COMPLY

Duty to Comply

The permittee must comply with all conditions of this permit. Any permit noncompliance constitutes a violation of the Tennessee Water Quality Control Act (TWQCA) and is grounds for an enforcement action, permit termination, revocation and reissuance, modification; or for denial of a permit renewal application.

Penalties

Pursuant to T.C.A. § 69-3-115 of The Tennessee Water Quality Control Act of 1977, as amended:

        - Any person who violates an effluent standard or limitation or a water quality standard established under this part (T.C.A. § 69-3-101, et. seq.); violates the terms or conditions of this permit; fails to complete a filing requirement; fails to allow or perform an entry, inspection, monitoring or reporting requirement; violates a final determination or order of the board, panel or commissioner; or violates any other provision of this part or any rule or regulation promulgated by the board, is subject to a civil penalty of up to ten thousand dollars ($10,000) per day for each day during which the act or omission continues or occurs.

        - Any person unlawfully polluting the waters of the state or violating or failing, neglecting, or refusing to comply with any of the provisions of this part (T.C.A. § 69-3-101, et. seq.) commits a Class C misdemeanor. Each day upon which such violation occurs constitutes a separate offense.

        - Any person who willfully and knowingly falsifies any records, information, plans, specifications, or other data required by the board or the commissioner, or who willfully and knowingly pollutes the waters of the state, or willfully fails, neglects or refuses to comply with any of the provisions of this part (T.C.A. § 69-3-101, et. seq.) commits a Class E felony and shall be punished by a fine of not more than twenty-five thousand dollars ($25,000) or incarceration, or both.

Civil and criminal liability

Nothing in this permit shall be construed to relieve the discharger from civil or criminal penalties for noncompliance. Notwithstanding this permit, the discharger shall remain liable for any damages sustained by the State of Tennessee, including but not limited to fish kills and losses of aquatic life and/or wildlife, as a result of the discharge to any surface or subsurface waters. Additionally, notwithstanding this permit, it shall be the responsibility of the discharger to conduct stormwater discharge activities in a manner such that public or private nuisances or health hazards will not be created. Furthermore, nothing in this permit shall be construed to preclude the State of Tennessee from any legal action or relieve the discharger from any responsibilities, liabilities, or penalties established pursuant to any applicable state law or the Federal Water Pollution Control Act.

Liability Under State Law

Nothing in this permit shall be construed to preclude the institution of any legal action or relieve the permittee from any responsibilities, liabilities, or penalties established pursuant to any applicable local, state or federal law.

CONTINUATION OF THE EXPIRED GENERAL PERMIT

Permittees shall maintain coverage under this general permit until a new general permit is issued.

Operator(s) of an existing site permitted under the division’s 2016 construction general permit shall maintain full compliance with the existing SWPPPError! Hyperlink reference not valid.. The existing SWPPPError! Hyperlink reference not valid. shall be modifiedaccording to the Section 5.3.1 of this permit.

NEED TO HALT OR REDUCE ACTIVITY NOT A DEFENSE

It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this permit.

DUTY TO MITIGATE

The permittee shall take all reasonable steps to minimize or prevent any discharge in violation of this permit that has a reasonable likelihood of adversely affecting human health or the environment.

DUTY TO PROVIDE INFORMATION

The permittee shall furnish to the division or an authorized representative of the division, within a time specified by the division, any information that the division may request to determine compliance with this permit or other information relevant to the protection of the waters of the state. The permittee shall also furnish to the division, upon request, copies of records required to be kept by this permit.

OTHER INFORMATION

When the permittee becomes aware that he or she failed to submit any relevant facts or submitted incorrect information in the Notice of Intent or in any other report to the director, he or she shall promptly submit such facts or information.

SIGNATORY REQUIREMENTS

All NOIs, SWPPPError! Hyperlink reference not valid.s, NOTs, Construction Stormwater Inspection Certifications, Construction Stormwater Monitoring Report forms, reports, certifications or information either submitted to the director or the operator of a large or medium Municipal Separate Storm Sewer System (MS4) shall be signed as described in Sections 8.7.1 and 8.7.2 and dated.

Signatory Requirements for an NOI

The NOI shall be signed as follows:

- For a corporation, by a responsible corporate officer. For the purpose of this section, a responsible corporate officer means:

- a president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision-making functions for the corporation, or

- the manager of one or more manufacturing, production, or operating facilities, provided, the manager is authorized to make management decisions which govern the operation of the regulated site including having the explicit or implicit duty of making major capital investment recommendations, and initiating and directing other comprehensive measures to assure long term environmental compliance with environmental laws and regulations; the manager can ensure that the necessary systems are established or actions taken to gather complete and accurate information for permit application requirements; and where authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

- For a general partnership, by each general partner in the general partnership,

- For a sole proprietorship, by the proprietor,

- For a municipality, state, federal, or other public agency, by either a principal executive officer or ranking elected official. For purposes of this section, a principal executive officer of a Federal agency includes:

- the chief executive officer of the agency, or

- a senior executive officer having responsibility for the overall operations of a principle geographic unit of the agency (e.g., Regional Administrators of EPA).

NOTE: The division does not require specific assignments or delegations of authority to responsible corporate or municipal, state, federal, or other public agency officers. The division will presume that these officers have the requisite authority to sign permit applications unless the entity has notified the director to the contrary. Procedures governing authority to sign permit applications may provide for assignment or delegation to applicable positions rather than to specific individuals.

Signatory Requirements for SWPPPs, Reports and Other Items

SWPPPError! Hyperlink reference not valid.s, Construction Stormwater Inspection Certification forms, reports, certifications or other information submittals required by the permit and other information requested by the division, including but not limited to Notice of Violation responses, shall be signed by a person described in Section 8.7.1, or by a duly authorized representative of that person.

Duly Authorized Representative

For a purpose of satisfying signatory requirements for reports (Section 8.7.2), a person is a duly authorized representative only if:

- the authorization is made in writing by a person described in Section 8.7.1;

- the authorization specifies an individual having responsibility for the overall operation of the regulated site or activity such as the position of plant manager, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company; a duly authorized representative may thus be either a named individual or any individual occupying a named position; and

- the written authorization is submitted to the director or an appropriate EFO. The written authorization shall be a written document including the name of the newly authorized person or any individual occupying a named position as described in paragraph b) above, and the corresponding contact information (title, mailing address, phone number and E-mail address) for the authorized person or position. The written authorization shall be signed by the newly authorized person accepting responsibility and by the person described in Section 8.7.1 delegating the authority.

Changes to Authorization

If an authorization under Sections 8.7.1 or 8.7.3 is no longer accurate because a different individual or position has responsibility as the primary or secondary permittee, but the company name (permittee name) remains the same, a new NOI and SWPPPError! Hyperlink reference not valid. certification shall be submitted and signed by the new party who meets signatory authority satisfying the requirements of Sections 8.7.1 or 8.7.3 . The NOI shall include the new individual’s information (title, mailing address, phone number and E-mail address), the existing tracking number and the project name.

Signatory Requirements for Primary Permittees

Primary permittees required to sign an NOI and SWPPPError! Hyperlink reference not valid. because they meet the definition of an operator (Subpart 2.1) shall sign the following certification statement on the NOI and on the SWPPPError! Hyperlink reference not valid.:

“I certify under penalty of law that this document and all attachments were prepared by me, or under my direction or supervision. The submitted information is to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment. As specified in Tennessee Code Annotated Section 39-16-702(a)(4), this declaration is made under penalty of perjury.”

Signatory Requirements for Secondary Permittees

Secondary permittees required to sign an NOI and SWPPPError! Hyperlink reference not valid. because they meet the definition of an operator but who are not primarily responsible for preparing an NOI and SWPPPError! Hyperlink reference not valid., shall sign the following certification statement on the NOI and on the SWPPPError! Hyperlink reference not valid.:

“I certify under penalty of law that I have reviewed this document, any attachments, and the SWPPP referenced above. Based on my inquiry of the construction site owner/developer identified above and/or my inquiry of the person directly responsible for assembling this NOI and SWPPP, I believe the information submitted is accurate. I am aware that this NOI, if approved, makes the above-described construction activity subject to NPDES permit number TNR100000, and that certain of my activities on-site are thereby regulated. I am aware that there are significant penalties, including the possibility of fine and imprisonment for knowing violations, and for failure to comply with these permit requirements. As specified in Tennessee Code Annotated Section 39-16-702(a)(4), this declaration is made under penalty of perjury.”

OIL AND HAZARDOUS SUBSTANCE LIABILITY

Nothing in this permit shall be construed to preclude the institution of any legal action or relieve the permittee from any responsibilities, liabilities, or penalties to which the permittee is or may be subject to Section 311 of the Clean Water Act or Section 106 of the Comprehensive Environmental Response, Compensation and Liability Act of 1980 (CERCLA).

PROPERTY RIGHTS

The issuance of this permit does not convey any property rights of any sort, or any exclusive privileges; nor does it authorize any injury to private property, any invasion of personal rights or any infringement of federal, state or local laws or regulations. The issuance of this permit does not authorize trespassing or discharges of stormwater or non-stormwater across private property.

SEVERABILITY

The provisions of this permit are severable, and if any provision of this permit, or the application of any provision of this permit to any circumstance, is held invalid, the application of such provision to other circumstances, and the remainder of this permit shall not be affected thereby.

INDIVIDUAL PERMITS

Required Individual Permit Coverage

The director may require any person covered by this permit to apply for and obtain an individual NPDES permit to ensure adequate protection of designated uses of a receiving stream. Any interested person may petition the director in writing to take action under this paragraph but must include in their petition the justification for such an action. Where the director requires a discharger authorized to discharge under this permit to apply for an individual NPDES permit, the director shall notify the discharger in writing that an individual permit application is required. This notification will include a brief statement of the reasons for this decision, an application form, a statement setting a deadline for the discharger to file the application and a statement that coverage under this general permit shall terminate upon the effective date of an individual NPDES permit; or denial of coverage under an individual permit. An individual NPDES permit is required only when additional permit terms or conditions beyond those set forth herein are necessary to protect water quality. Criteria for the division to require an individual NPDES permit may include, but are not limited to:

- Due to unique site conditions the discharge may result in greater than de minimis degradation, or a threat to threatened or endangered aquatic or semi-aquatic species.

- The total acreage to be disturbed and/or total drainage area to an outfall may exceed the capability of standard EPSCs and other BMPs to prevent pollution to waters.

- Steep grades or erosive soil conditions warrant site-specific controls that exceed the conditions of the CGP.

- Other site-specific conditions, such as contaminated soils or public lands.

The notification may require stabilization of the site and suspend coverage under this general permit until the individual permit is issued. Individual permit applications and updated SWPPP shall be submitted to the appropriate Environmental Field Office of the division as indicated in Subpart 3.4. The director may grant additional time to submit the application upon request of the applicant. If a discharger fails to submit in a timely manner an individual NPDES permit application as required by the director under this paragraph, then the applicability of this permit to the discharger will be terminated at the end of the day specified by the director for application submittal.

If the decision to require an individual NPDES permit precedes the issuance of coverage under this general permit, earth disturbing activities cannot begin until the individual permit is issued.

Permittee-Requested Individual Permit Coverage

Any discharger authorized by this permit may request to be excluded from the coverage of this permit by applying for an individual permit. Any discharger that knowingly cannot abide by the terms and conditions of this permit must apply for an individual permit. In such cases, the permittee shall submit an individual application in accordance with the requirements of 40 CFR 122.26(c)(1)(ii), with reasons supporting the request, and a SWPPP to the appropriate division’s Environmental Field Office. The request may be granted by issuance of an individual permit, or alternative general permit, if the reasons cited by the permittee are adequate to support the request.

General Permit Termination

When an individual NPDES permit is issued to a discharger otherwise subject to this permit, or the discharger is authorized to discharge under an alternative NPDES general permit, the applicability of this permit to the discharger is terminated on the effective date of the individual permit or the date of authorization of coverage under the alternative general permit, whichever the case may be. When an individual NPDES permit is denied to an owner or operator otherwise subject to this permit, or the owner or operator is denied for coverage under an alternative NPDES general permit, the applicability of this permit to the individual NPDES permittee is terminated on the date of such denial, unless otherwise specified by the director. Coverage under the Tennessee Multi-Sector General Permit for the Discharge of Stormwater from an Industrial Activity (TMSP) will not be considered as an alternative general permit under this section without being specified by the director.

OTHER, NON-STORMWATER, PROGRAM REQUIREMENTS

No condition of this permit shall release the permittee from any responsibility or requirements under other environmental statutes or regulations.

PROPER OPERATION AND MAINTENANCE

The permittee shall at all times properly operate and maintain all facilities and systems of treatment and control (and related equipment) which are installed or used by the permittee to achieve compliance with the conditions of this permit and with the requirements of SWPPPError! Hyperlink reference not valid.s.

Proper operation and maintenance requires the operation of backup or auxiliary facilities or similar systems, installed by a permittee, when determined by the permittee or the division to be necessary to achieve compliance with the conditions of the permit.

Inspection and Entry

The permittee shall allow authorized representatives of the Environmental Protection Agency, the director or an authorized representative of the commissioner of TDEC, or, in the case of a construction site which discharges through a municipal separate storm sewer, an authorized representative of the MS4 receiving the discharge, upon the presentation of credentials and other documents as may be required by law:

  - to enter upon the permittee's premises where a regulated facility or activity is located or conducted or where records must be kept under the conditions of this permit;

  - to have access to and copy at reasonable times, any records that must be kept under the conditions of this permit; and

  - to inspect any facilities or equipment, including monitoring and control equipment.

PERMIT ACTIONS

This permit may be issued, modified, revoked, reissued or terminated for cause in accordance with this permit and the applicable requirements of T.C.A. § 69-3-108. The filing of a request by the permittee for a permit modification, revocation and reissuance, or termination, or a notification of planned changes or anticipated noncompliance does not stay any permit condition.

PART 9

REQUIREMENTS FOR TERMINATION OF COVERAGE

TERMINATION OF DEVELOPER AND BUILDER COVERAGE

Termination Process for Primary Permittees

Primary permittees wishing to terminate coverage under this permit must submit a completed Notice of Termination (NOT) form provided in Appendix B of this permit (representative photo or video documentation of site stabilization is recommended). Electronic submittal is encouraged (see NPDES Electronic Reporting for more information). Primary permittees who abandon a site and fail to submit the NOT will be in violation of this permit. If the NOT was not submitted five years following the “estimated end date” (as identified on the NOI), the division can terminate the CGP coverage, unless the permittee specifically requests to maintain coverage. Signs notifying the public of the construction activity shall be in place until the NOT form has been submitted. Primary permittees may terminate permit coverage only if the conditions described below occur at the site:

- For areas where the primary permittee has control, all earth-disturbing activities and, if applicable, construction support activities permitted under Section 1.2.2 at the site are complete and the following requirements are met:

- For any areas that were disturbed during construction, are not covered by permanent structures and over which the permittee had control during the construction activities; the requirements for permanent vegetation or non-vegetative stabilization described in Subsection 5.5.3.4 are met;

- The permittee has removed and properly disposed of all construction materials, as well as waste and waste handling devices. The permittee has removed all equipment and vehicles that were used during construction, unless they are intended for long-term use following termination of permit coverage;

- The permittee has removed all stormwater controls that were installed and maintained during construction, except those that are intended for long-term use following termination of permit coverage;

- The permittee has identified in the SWPPP who is responsible for ongoing maintenance of any stormwater controls left on the site for long-term use following termination of permit coverage, and

- The groundcover achieves permanent stabilization.

- The permittee has transferred control of all areas of the site for which he is responsible (including, but not limited to, infrastructure, common areas, stormwater drainage structures, sediment control basin) under this permit to another operator, and that operator has submitted an NOI and obtained coverage under this permit.

- The permittee obtains coverage under an individual or alternative general NPDES permit.

NOT Review

The division may review NOTs for completeness and accuracy and, when necessary, investigate the proposed site for which the NOT was submitted. Coverage under the permit is terminated when the permit record is published on TDEC’s DataViewer as “Inactive.” Operators may be liable for discharges that occur from the site after termination.

The division retains the right to deny termination of coverage under this general permit upon receipt of the NOT. If the local Environmental Field Office has information indicating that the permit coverage is not eligible for termination, written notification will be provided within 30 days of receipt that permit coverage has not been terminated. The notification will include a summary of existing deficiencies. When the site meets the termination criteria, the NOT should be re-submitted.

If any permittee files for bankruptcy or the site is foreclosed on by the lender, the permittee shall notify the division of the situation so that the division may assess the site to determine if permit coverage should be obtained by any other person or whether other action is needed.

TERMINATION OF BUILDER AND CONTRACTOR COVERAGE

Termination Process for Secondary Permittees

Secondary permittees must request termination of coverage under this permit by submitting a NOT when they are no longer an operator at the construction site. Electronic submittal is encouraged (see NPDES Electronic Reporting for more information). Secondary permittees receive coverage under this permit but are not normally mailed a NOC. Consequently, the division may, but is not required to, notify secondary permittees that their notice of termination has been received. If the division has reason to believe that the secondary permittee’s NOT should not have been submitted, the division will deny the secondary permittee’s NOT in writing, with specific reasons as to why the NOT should not have been submitted.

NOT CERTIFICATION

The NOT and the following certification must be signed in accordance with Subpart 8.7 of this permit:

“I certify under penalty of law that either: (a) all stormwater discharges associated with construction activity from the portion of the identified facility where I was an operator have ceased or have been eliminated or (b) I am no longer an operator at the construction site. I understand that by submitting this notice of termination, I am no longer authorized to discharge stormwater associated with construction activity under this general permit, and that discharging pollutants in stormwater associated with construction activity to waters of the United States is unlawful under the Clean Water Act where the discharge is not authorized by a NPDES permit. I also understand that the submittal of this notice of termination does not release an operator from liability for any violations of this permit or the Clean Water Act. As specified in Tennessee Code Annotated Section 39-16-702(a)(4), this declaration is made under penalty of perjury.”

WHERE TO SUBMIT A NOT?

Electronic submittal is encouraged (see NPDES Electronic Reporting for more information). Otherwise, the NOT shall be submitted to the Environmental Field Office (EFO) which issued the NOC to the primary permittee. A list of counties and the corresponding EFOs is provided in Subpart 3.4. The appropriate permit tracking number must be clearly printed on the form.

PART 10

DEFINITIONS, ACRONYMS AND RESOURCES

Definitions

| 2-year 24-hour 5-year 24-hour | 2-year and 5-year design storm depths and intensities The estimated design rainfall amounts, for any return period interval (i.e., 2-yr, 5-yr, 25-yr, etc.,) in terms of either 24-hour depths or intensities for any duration, can be found by accessing the data available at https://hdsc.nws.noaa.gov/hdsc/pfds/pfds_map_cont.html. Other data sources may be acceptable with prior written approval by TDEC Division of Water Resources. |
| --- | --- |
| ARAP | Aquatic Resource Alteration Permit Persons who wish to make an alteration to a stream, river, lake or wetland must first obtain a water quality permit. Physical alterations to properties of waters of the state require an ARAP or a §401 Water Quality Certification (§401 certification). Examples of stream alterations that require a permit from the division include: Dredging, excavation, channel widening, or straightening Bank sloping; stabilization Channel relocation Water diversions or withdrawals Dams, weirs, dikes, levees or other similar structures Flooding, excavating, draining and/or filling a wetland Road and utility crossings Structural fill General ARAPs are developed and maintained by the division to provide a streamlined, expedited means of authorizing projects that singularly or cumulatively propose minor impacts to water resources. |
| BMP | Best Management Practices (“BMPs”) means schedules of activities, prohibitions of practices, maintenance procedures and other management practices to prevent or reduce the discharge of pollutants to waters of the state. BMPs also include treatment requirements, operating procedures; and practices to control plant site runoff, spillage, leaks, sludge or waste disposal, or drainage from raw material storage. BMPs include source control practices (non-structural BMPs) and engineered structures designed to treat runoff. Structural BMPs are facilities that help prevent pollutants in stormwater runoff from leaving the site. Non-structural BMPs are techniques, activities and processes that reduce pollutants at the source. |
| borrow pit | Borrow Pit is an excavation from which erodible material (typically soil) is removed to be fill for another site. There is no processing or separation of erodible material conducted at the site. Given the nature of activity and pollutants present at such excavation, a borrow pit is considered a construction activity for the purpose of this permit. |
| buffer zone | Buffer Zone or Water Quality Riparian Buffer is a permanent strip of natural perennial vegetation, adjacent to a stream, river, wetland, pond, or lake that contains dense vegetation made up of grass, shrubs, and/or trees. The purpose of a water quality riparian buffer is to maintain existing water quality by minimizing risk of any potential sediments, nutrients or other pollutants reaching adjacent surface waters and to further prevent negative water quality impacts by providing canopy over adjacent waters |
| clearing | Clearing refers to removal of vegetation and disturbance of soil prior to grading or excavation in anticipation of construction activities. Clearing may also refer to wide area land disturbance in anticipation of non-construction activities. Clearing, grading and excavation do not refer to clearing of vegetation along existing or new roadways, highways, dams or power lines for sight distance or other maintenance and/or safety concerns, or cold planning, milling, and/or removal of concrete and/or bituminous asphalt roadway pavement surfaces. The clearing of land for agricultural purposes is exempt from federal stormwater NPDES permitting in accordance with Section 401(1)(1) of the 1987 Water Quality Act and state stormwater NPDES permitting in accordance with the Tennessee Water Quality Control Act of 1977 (T.C.A. 69-3-101 et seq.). |
| commencement | Commencement of construction: the initial disturbance of soils associated with clearing, grading, excavating or other construction activities. |
| common plan | Common plan of development or sale is broadly defined as any announcement or documentation (including a sign, public notice or hearing, sales pitch, advertisement, drawing, permit application, zoning request, computer design) or physical demarcation (including boundary signs, lot stakes, surveyor markings) indicating construction activities may occur on a specific plot. A common plan of development or sale identifies a situation in which multiple areas of disturbance are occurring on contiguous areas. This applies because the activities may take place at different times, on different schedules, by different operators. |
| control measure | Control measure refers to any Best Management Practice (BMP) or other method used to prevent or reduce the discharge of pollutants to waters of the state. |
| CWA | CWA means the Clean Water Act of 1977 or the Federal Water Pollution Control Act (33 U.S.C. 1251, et seq.) |
| director | Director means the director, or authorized representative, of the Division of Water Resources of the State of Tennessee, Department of Environment and Conservation. |
| degradation | Degradation means the alteration of the properties of waters by the addition of pollutants, withdrawal of water, or removal of habitat, except those alterations of a short duration. |
| de minimis | De Minimis is degradation of a small magnitude, as provided in this paragraph: (a) Discharges and withdrawals: 1. Subject to the limitation in part 3 of this subparagraph, a single discharge other than those from new domestic wastewater sources will be considered de minimis if it uses less than five percent of the available assimilative capacity for the substance being discharged. 2. Subject to the limitation in part 3 of this subparagraph, a single water withdrawal will be considered de minimis if it removes less than five percent of the 7Q10 flow of the stream. 3. If more than one activity described in part 1 or 2 of this subparagraph has been authorized in a segment and the total of the authorized and proposed impacts uses no more than 10% of the assimilative capacity, or 7Q10 low flow, they are presumed to be de minimis. Where the total of the authorized and proposed impacts uses 10% of the assimilative capacity, or 7Q10 low flow, additional degradation may only be treated as de minimis if the Division finds on a scientific basis that the additional degradation has an insignificant effect on the resource. (b) Habitat alterations authorized by an Aquatic Resource Alteration Permit (ARAP) are de minimis if the Division finds that the impacts, individually and cumulatively, are offset by impact minimization and/or in-system mitigation, provided however, in Outstanding National Resource Waters (ONRWs) the mitigation must occur within the ONRW. |
| discharge of a pollutant | Discharge or discharge of a pollutant refers to the addition of pollutants to waters from a source. |
| disturbed area | Disturbed area means the total area presented as part of the development (and/or of a larger common plan of development) subject to being cleared, graded, grubbed, filled or excavated during the life of the development. The area cannot be limited to only the portion of the total area that the site-wide owner/developer initially disturbs through the process of various land clearing activities or in the construction of roadways, sewers, drainfields, and water utilities, stormwater drainage structures, etc., to make the property marketable. |
| division | Division means the Division of Water Resources of the State of Tennessee, Department of Environment and Conservation |
| exceptional waters | Exceptional Tennessee Waters are surface waters designated by the division as having the characteristics set forth at Tennessee Rules, Chapter 0400-40-03-.06(4). Characteristics include waters within parks or refuges; scenic rivers; waters with threatened or endangered species; waters that provide specialized recreational opportunities; waters within areas designated as lands unsuitable for mining; waters with naturally reproducing trout; waters with exceptional biological diversity and other waters with outstanding ecological or recreational value. |
| permanent stabilization | Permanent Stabilization means that all soil disturbing activities at the site have been completed and one of the three following criteria is met: A perennial, preferably native, vegetative cover with a uniform (i.e., evenly distributed, without large bare areas) density of at least 70 percent has been established on all unpaved areas and areas not covered by permanent structures, and all slopes and channels have been permanently stabilized against erosion. Equivalent permanent stabilization measures such as the use of riprap; permanent geotextiles; hardened surface materials including concrete, asphalt, gabion baskets or Reno mattresses have been employed. For construction projects on land used for agricultural or silvicultural purposes, permanent stabilization may be accomplished by returning the disturbed land to its preconstruction agricultural or silvicultural use. |
| improved sinkhole | Improved sinkhole is a natural surface depression that has been altered in order to direct fluids into the hole opening. Improved sinkhole is a type of injection well regulated under the Underground Injection Control (UIC) program. Underground injection constitutes an intentional disposal of waste waters in natural depressions, open fractures and crevices, such as those commonly associated with weathering of limestone. |
| Level 1 | Level 1 - Fundamentals of Erosion Prevention and Sediment Control training and certification program administered by University of Tennessee Water Resources Research Center (https://tnepsc.org/index.asp). The Fundamentals course is a foundation-building course intended for individuals involved in land-disturbing activities covered by the Construction General Permit. The course aims to build a working knowledge of erosion and sedimentation processes and practices and is intended for: site inspectors, inspection and enforcement personnel from all levels of government, plan preparers and reviewers, and designers and engineers. Topics include: Construction General Permit and related SWPPP requirements; function, installation, limitations, inspection and maintenance of Best Management Practices; roles of local officials and state government agencies involved in the permitting process; and basic hydrologic and erosion processes. Upon successful completion of a Course Certification Exam, the participant receives a Level 1 TNEPSC certificate. The Level 1 certificate is valid for three full years following the year that the certificate was issued. To meet the requirement for Level 1 certified staff, TDOT may develop and administer an approved equivalent Level1 training and certification program as provided in the TDOT individual MS4 Permit. The equivalent TDOT Level 1 certification is valid only for TDOT staff and for projects where TDOT is the primary site operator. |
| Level 2 | Level 2 - Design Principles for Erosion Prevention and Sediment Control for Construction Sites training and certification program administered by University of Tennessee Water Resources Research Center (https://tnepsc.org/index.asp). It is an advanced 2-day workshop designed for engineers and other professionals who have completed the prerequisite Level 1 course. The Level 2 Design workshop provides the general tools needed for developing an acceptable, working SWPPP. Topics discussed in the course include: hydrologic methods for determining peak flows; principles of soil erosion, scouring and sediment transport processes, including practice examples for preventing erosion; and open channel principles and practices for designing a stable channel, including use and examples of riprap, blankets and matting, and vegetation; stormwater control requirements and design; sedimentation principles; and temporary sediment basin design requirements, and detailed examples. The Level 2 Design workshop provides a Certificate of Completion after attending both days and successfully completing the take-home exam. |
| linear project | Linear Project is a land disturbing activity as conducted by an underground/overhead utility or highway department, including, but not limited to, any cable line or wire for the transmission of electrical energy; any conveyance pipeline for transportation of gaseous or liquid substance; any cable line or wire for communications; or any other energy resource transmission ROW or utility infrastructure, e.g., roads and highways. Activities include the construction and installation of these utilities within a corridor. Linear project activities also include the construction of access roads, staging areas and borrow/spoil sites associated with the linear project. Land disturbance specific to the development of residential and commercial subdivisions or high-rise structures is not considered a linear project. |
| measurable degradation | Measurable Degradation, as used in the context of discharges or withdrawals, means changes in parameters of waters that are of sufficient magnitude to be detectable by the best available instrumentation or laboratory analyses. |
| month | Month or Monthly refers to calendar months. |
| MS4 | “Municipal Separate Storm Sewer System” or “MS4" is defined in 40 CFR §122.26(b)(8) to mean a conveyance or system of conveyances (e.g., roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, manmade channels, or storm drains) that are: owned and operated by a state, city, town, borough, county, parish, district, association, or other public body (created by or pursuant to state law) having jurisdiction over disposal of sewage, industrial wastes, stormwater, or other wastes, including special districts under state law such as a sewer district, flood control district or drainage district, or similar entity, or an Indian tribe or an authorized Indian tribal organization, or a designated and approved management agency under section 208 of the CWA that discharges to waters of the United States; designed or used for collecting or conveying stormwater; not a combined sewer; and not part of a Publicly Owned Treatment Works (POTW) as defined in 40 CFR §122.2. |
| operator | Operator for the purpose of this permit and in the context of stormwater associated with construction activity, means any person (typically considered the primary permittee) associated with a construction project that meets either of the following two criteria: a) This person has operational or design control over construction plans and specifications, including the ability to make modifications to those plans and specifications. This person is typically the owner or developer of the project or a portion of the project (e.g., subsequent builder) or the person who is the current owner of the construction site. b) This person has day-to-day operational control of those activities at a project which are necessary to ensure compliance with a SWPPP for the site or other permit conditions. This person is typically a contractor or a commercial builder who is hired by the primary permittee and is considered a secondary permittee. It is anticipated that at different phases of a construction project, different types of parties may satisfy the definition of “operator” (see Part 2 of this permit). |
| point source (or outfall) | Point source means any discernible, confined and discrete conveyance, including but not limited to, any pipe, ditch, channel, tunnel, conduit, well, discrete fissure, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel or other floating craft from which pollutants are or may be discharged. This term does not include introduction of pollutants from non-point source agricultural and silvicultural activities, including stormwater runoff from orchards, cultivated crops, pastures, range lands, forest lands or return flows from irrigated agriculture or agricultural stormwater runoff. In short, outfall is a point where runoff leaves the site as a concentrated flow in a discrete conveyance. Phrase “point source” and term “outfall” are used interchangeably in this general permit, and can be considered synonyms. |
| pollutant | Pollutant means sewage, industrial wastes, or other wastes. |
| QLP | Qualifying State, Tribal, or local erosion and sediment control program is one that includes, as defined in 40 CFR 122.44(s): a) Requirements for construction site operators to implement appropriate erosion and sediment control best management practices. b) Requirements for construction site operators to control waste such as discarded building materials, concrete truck washout, chemicals, litter, and sanitary waste at the construction site that may cause adverse impacts to water quality. c) Requirements for construction site operators to develop and implement a stormwater pollution prevention plan. A stormwater pollution prevention plan includes site descriptions, descriptions of appropriate control measures, copies of approved State, Tribal or local requirements, maintenance procedures, inspection procedures and identification of non-stormwater discharges. d) Requirements to submit a site plan for review that incorporates consideration of potential water quality impacts. |
| rainfall | A rainfall event is defined as any occurrence of rain preceded by 10 hours without precipitation that results in an accumulation of 0.01 inches or more. Instances of rainfall occurring within 10 hours of each other will be considered a single rainfall event. |
| registered engineer | Registered Engineer and Registered Landscape Architect An engineer or landscape architect certified and registered by the State Board of Architectural and Engineer Examiners pursuant to Section 62-202, Tennessee Code Annotated, to practice in Tennessee. |
| runoff coefficient | Runoff coefficient means the fraction of total rainfall that will appear at the conveyance as runoff. Runoff coefficient is also defined as the ratio of the amount of water that is not absorbed by the surface to the total amount of water that falls during a rainstorm. |
| sediment | Sediment means solid material, both inorganic (mineral) and organic, that is in suspension, is being transported; or has been moved from the site of origin by wind, water, gravity or ice as a product of erosion. |
| sediment basin | Sediment basin A temporary basin consisting of an embankment constructed across a wet weather conveyance, an excavation that creates a basin or by a combination of both. A sediment basin typically consists of a forebay cell, dam, impoundment, permanent pool, primary spillway, secondary or emergency spillway and surface dewatering device. The size and shape of the basin depends on the location, size of drainage area, incoming runoff volume and peak flow, soil type and particle size, land cover, and receiving stream classification (i.e., waters with unavailable parameters, Exceptional TN Waters, or waters with available parameters). |
| sedimentation | Sedimentation means the action or process of forming or depositing sediment. |
| soil | Soil or Topsoil means the unconsolidated mineral and organic material on the immediate surface of the earth that serves as a natural medium for the growth of plants. |
| steep slope | Steep Slope or Steep Grade means a natural or created slope of 35% grade or greater. Designers of sites with steep slopes must pay attention to stormwater management in the SWPPP to engineer runoff around or over a steep slope so as not to erode the slope. In addition, site managers should focus on erosion prevention on the slopes and stabilize the slopes as soon as practicable to prevent slope failure or sediment discharges from the project. |
| stormwater | Stormwater means rainfall runoff, snow melt runoff, and surface runoff and drainage. |
| stream | A Stream is a surface water that is not a wet weather conveyance. Therefore, as used in this permit, “stream” includes lakes, wetlands and other non-linear surface waters. |
| construction stormwater | Stormwater associated with industrial activity is defined in 40 CFR 122.26(b)(14) and incorporated here by reference. Most relevant to this permit is 40 CFR 122.26(b)(14)(x), which relates to construction activity including clearing, grading, filling and excavation activities, including borrow pits containing erodible material. Disturbance of soil for the purpose of crop production is exempt from permit requirements, but stormwater discharges from agriculture-related activities that involve construction of structures (e.g., barn construction, road construction, pond construction) are considered associated with industrial activity. Maintenance to the original line and grade, hydraulic capacity; or to the original purpose of the facility (e.g., re-clearing, minor excavation performed around an existing structure necessary for maintenance or repair and repaving of an existing road) is not considered a construction activity for the purpose of this permit. |
| discharge-related activities | Stormwater discharge-related activities means activities that cause, contribute to or result in point source stormwater pollutant discharges. These activities may include excavation, site development, grading and other surface disturbance activities; and activities to control stormwater including the siting, construction and operation of best management practices (BMPs). |
| SWPPP | Stormwater Pollution Prevention Plan is a written site-specific plan required by this permit that includes a narrative pollution prevention plan and graphical erosion and sediment control plan. In its basic form, the plan contains a site map, a description of construction activities that could introduce pollutants to stormwater runoff, a description of measures or practices to control these pollutants, and erosion and sediment control plans and specifications. It must be prepared and submitted before construction begins. In order to effectively reduce erosion and sedimentation impacts, Best Management Practices (BMPs) must be designed, installed and maintained during land disturbing activities. The SWPPP should be prepared in accordance with the Tennessee Erosion and Sediment Control Handbook. |
| take | Take of an endangered species means to harass, harm, pursue, hunt, shoot, wound, kill, trap, capture or collect, or attempt to engage in any such conduct. |
| the handbook | Tennessee Erosion and Sediment Control Handbook is a guidance issued by the Division of Water Resources for the purpose of developing Stormwater Pollution Prevention Plans and Erosion and Sediment Control Plans required by the TNCGP. The handbook is designed to provide information to planners, developers, engineers and contractors on the proper selection, installation and maintenance of BMPs. The handbook is intended for use during the design and construction of projects that require erosion and sediment controls to protect waters of the state. |
| temporary stabilization | Temporary stabilization is achieved when vegetation or non-erodible surface has been established on the area of disturbance and construction activity has temporarily ceased. Under certain conditions, temporary stabilization is required when construction activities temporarily cease. However, if future construction activity is planned, permit coverage continues. |
| TMDL | Total maximum daily load (TMDL) means the sum of the individual wasteload allocations for point sources and load allocations for nonpoint sources and natural background (40 CFR 130.2(I)). TMDL is a study that quantifies the amount of a pollutant in a stream, identifies the sources of the pollutant and recommends regulatory or other actions that may need to be taken in order for the stream to cease being polluted. TMDLs can also be described by the following equation: TMDL = sum of nonpoint sources (LA)+ sum of point sources (WLA)+ margin of safety A list of completed TMDLs that have been approved by EPA can be found at our web site: https://www.tn.gov/environment/program-areas/wr-water-resources/watershed-stewardship/tennessee-s-total-maximum-daily-load--tmdl--program.html |
| treatment chemicals | Treatment chemicals are polymers, flocculants or other chemicals used to reduce turbidity in stormwater discharges by chemically bonding to suspended silts and other soil materials and causing them to bind together and settle out. Common examples of anionic treatment chemicals are chitosan and anionic PAM. |
| turbidity | Turbidity is the cloudiness or haziness of a fluid caused by individual particles (suspended solids) that are generally invisible to the naked eye, similar to smoke in air. |
| waste site | Waste site is an area where material from a construction site is disposed of. When the material is erodible, such as soil, the site must be treated as a construction site. |
| waters or waters of the state | Waters (or waters of the state) means any and all water, public or private, on or beneath the surface of the ground, which are contained within, flow through, or border upon Tennessee or any portion thereof, except those bodies of water confined to and retained within the limits of private property in single ownership which do not combine or effect a junction with natural surface or underground waters. |
| unavailable parameters | Waters with unavailable parameters means any segment of surface waters that has been identified by the division as failing to support one or more classified uses. For the purpose of this permit, pollutant of concern is siltation. Based on the most recent assessment information available to staff, the division will notify applicants and permittees if their discharge is into, or is affecting, waters with unavailable parameters. Resources to be used in making this determination include biennial compilations of impaired waters, databases of assessment information, updated GIS coverages (https://tdeconline.tn.gov/dwr/), and the results of recent field surveys. GIS coverages of the streams and lakes not meeting water quality standards, plus the biennial list of waters with unavailable parameters, can be found at https://www.tn.gov/environment/program-areas/wr-water-resources/water-quality/water-quality-reports---publications.html. |
| week | A one-week period is a synonym of a calendar-week; typically, a period from Sunday through Saturday. |
| wet weather conveyance | Wet weather conveyances are man-made or natural watercourses, including natural watercourses that have been modified by channelization, that meet the following: a) The conveyance carries flow only in direct response to precipitation runoff in its immediate locality. b) The conveyance’s channels are at all times above the ground water table. c) The flow carried by the conveyance is not suitable for drinking water supplies. d) Hydrological and biological analyses indicate that, due to naturally occurring ephemeral or low flow under normal weather conditions, there is not sufficient water to support fish or multiple populations of obligate lotic aquatic organisms whose life cycle includes an aquatic phase of at least two months. (Tennessee Rules, Chapter 0400-40-3-.04(3)). |

Acronyms and Abbreviations

7Q10	7-day minimum, 10-year recurrence interval

ARAP	Aquatic Resource Alteration Permit

BMP	Best Management Practice

BPT	Best Practicable Control Technology Currently Available

CERCLA	Comprehensive Environmental Response, Compensation and Liability Act

CFR	Code of Federal Regulations

CGP	Construction General Permit (this NPDES permit)

CWA	Clean Water Act

EFO	Environmental Field Office (see Subpart 3.4)

EPA	(U.S.) Environmental Protection Agency

EPSC	Erosion Prevention and Sediment Control

MS4	Municipal Separate Storm Sewer System

NOC	Notice of Coverage (see Subpart 1.5)

NOI	Notice of Intent (to be covered by this permit – see Section 1.4.1)

NOT	Notice of Termination (see Part 9)

NPDES	National Pollutant Discharge Elimination System

ONRW	Outstanding National Resource Waters

QLP	Qualifying Local Program (see Section 1.4.5)

SWPPP	Stormwater Pollution Prevention Plan

TDEC	Tennessee Department of Environment and Conservation

TDOT	Tennessee Department of Transportation

TMDL	Total Maximum Daily Load

TMSP	Tennessee Multi-Sector General Permit for the Discharge of Stormwater from an Industrial Activity

TVA	Tennessee Valley Authority

TWQCA	Tennessee Water Quality Control Act

UIC	Underground Injection Control

USGS	United States Geological Survey

Resources, Hyperlinks, and Web Pages

Electronic Code of Federal Regulations (eCFR), Title 40 (40 CFR § 1 through § 1099)

https://www.ecfr.gov/cgi-bin/text-idx?SID=75202eb5d09974cab585afeea981220b&mc=true&tpl=/ecfrbrowse/Title40/40chapterI.tpl

Electronic Reporting (NetDMR) Waiver Request

https://www.tn.gov/content/dam/tn/environment/water/documents/wr_ereporting_waiver.pdf

Online Forms

NPDES Electronic Reporting

NPDES Compliance Inspection Manual (EPA)

https://www.epa.gov/sites/production/files/2017-01/documents/npdesinspect.pdf

NPDES Electronic Reporting Rule

https://www.federalregister.gov/documents/2015/10/22/2015-24954/national-pollutant-discharge-elimination-system-npdes-electronic-reporting-rule

Rules of the TN Department of Environment and Conservation, Chapter 0400-40

https://publications.tnsosfiles.com/rules/0400/0400-40/0400-40.htm

TDEC Water Quality Rules, Reports, and Publications

https://www.tn.gov/environment/program-areas/wr-water-resources/water-quality/water-quality-reports---publications.html

Technical Support Document for Water Quality-based Toxics Control (EPA)

https://www3.epa.gov/npdes/pubs/owm0264.pdf

Tennessee Water Resources Data and Map Viewers

https://www.tn.gov/environment/program-areas/wr-water-resources/water-quality/water-resources-data-map-viewers.html

USGS StreamStats

https://www.usgs.gov/mission-areas/water-resources/science/streamstats-streamflow-statistics-and-spatial-analysis-tools?qt-science_center_objects=0#qt-science_center_objects

USGS SWToolbox

https://www.usgs.gov/software/swtoolbox-software-information

(End of body of permit; appendices follow.)

Appendix A – notice of intent form (noi)

(See Next Page)

TENNESSEE Department Of Environment And Conservation

Division of Water Resources

William R. Snodgrass Tennessee Tower, 312 Rosa L. Parks Avenue, 11th Floor, Nashville, TN 37243

Toll Free Number: 1-888-891-8332 (TDEC)

Notice of Intent (NOI) for General NPDES Permit for Stormwater Discharges from Construction Activities (TNR100000)

| Site or Project Name: |  | NPDES Tracking Number: TNR |  |
| --- | --- | --- | --- |
| Street Address including city or zip code or Location: |  | Construction Start Date: |  |
|  |  | Estimated End Date: |  |
| Site Description: |  | Latitude (dd.dddd): |  |
|  |  | Longitude (-dd.dddd): |  |
| County(ies): |  | MS4 Jurisdiction (if applicable): |  | Acres Disturbed: |  |
|  |  |  |  | Total Acres: |  |
| Are there any streams and/or wetlands on or adjacent to the construction site? |
| If wetlands are located on-site and may be impacted, attach wetlands delineation report. |
| If an Aquatic Resource Alteration Permit has been obtained for this site, what is the permit number? | ARAP Number: |  |
| Receiving waters: |  |
| Include the SWPPP with the NOI | SWPPP Included | Include a site location map | Map Included |

| Name of Site Owner or Developer (Site-Wide Permittee): (correct legal name of person, company, or entity that has operational or design control over construction plans and specifications) |
| --- |
| For corporate entities only, provide the Tennessee Secretary of State (SOS) Control Number: |
| Site Owner or Developer Contact Name: (individual responsible for site) | Title or Position: (the party who signs the certification below): |
| Mailing Address: | City: | State: | Zip: |
| Phone: ( ) | E-mail: |

| Optional Contact Name: | Title or Position: |
| --- | --- |
| Mailing Address: | City: | State: | Zip: |
| Phone: ( ) | E-mail: |

| Owner or Developer Certification: (must be signed by president, vice-president or equivalent, or ranking elected official) (Primary Permittee) |
| --- |
| I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. |
| Owner or Developer Name: (print or type) | Signature: | Date: |

| Contractor(s) Certification: (must be signed by president, vice-president or equivalent, or ranking elected official) (Secondary Permittee) |
| --- |
| I certify under penalty of law that I have reviewed this document, any attachments, and the SWPPP referenced above. Based on my inquiry of the construction site owner/developer identified above and/or my inquiry of the person directly responsible for assembling this NOI and SWPPP, I believe the information submitted is accurate. I am aware that this NOI, if approved, makes the above-described construction activity subject to NPDES permit number TNR100000, and that certain of my activities on-site are thereby regulated. I am aware that there are significant penalties, including the possibility of fine and imprisonment for knowing violations, and for failure to comply with these permit requirements. |
| Primary contractor name, address, and SOS control number (if applicable): (print or type) | Signature: | Date: |
| Primary contractor name, address, and SOS control number (if applicable): (print or type) | Signature: | Date: |
| Primary contractor name, address, and SOS control number (if applicable): (print or type) | Signature: | Date: |

CN-0940 (Rev. 09-21) 	(Instructions on reverse)	 RDA 2366

Notice of Intent (NOI) for General NPDES Permit for Stormwater Discharges from Construction Activities (TNR100000)

Purpose of this form A completed notice of intent (NOI) must be submitted to obtain coverage under the Tennessee General NPDES Permit for Discharges of Stormwater Associated with Construction Activity (permit). Requesting coverage under this permit means that an applicant has obtained and examined a copy of this permit, and thereby acknowledges applicant’s claim of ability to be in compliance with permit terms and conditions. This permit is required for stormwater discharge(s) from construction activities including clearing, grading, filling and excavating (including borrow pits) of one or more acres of land. This form should be submitted at least 30 days prior to the commencement of land disturbing activities, or no later than 48 hours prior to when a new operator assumes operational control over site specifications or commences work at the site.

The appropriate permit application fee must accompany the NOI and is based on total acreage to be disturbed by an entire project, including any associated construction support activities (e.g., equipment staging yards, material storage areas, excavated material disposal areas, borrow or waste sites):

(i) Projects equal to or greater than 150 acres 	$10,000

(ii) Projects equal to or greater than 50 acres and less than 150 acres 	$6,000

(iii) Projects equal to or greater than 20 acres and less than 50 acres 	$3,000

(iv) Projects equal to or greater than 5 acres and less than 20 acres 	$1,000

(v) Projects equal to or greater than 1 acre and less than 5 acres 	$250

(vi) Projects seeking subsequent coverage under an actively covered larger common

plan of development or sale 	$100

There is no fee for sites less than 1 acre. A separate annual maintenance fee is also required for construction activities that exceed 1 year under general permit coverage. Tennessee Rules, Chapter 0400-40-11-.02(b)(12)).

Who must submit the NOI form? Per Section 2 of the permit, all site operators must submit an NOI form. “Operator” for the purpose of this permit and in the context of stormwater associated with construction activity means any person associated with a construction project who meets either or both of the following two criteria: (1) The person has operational or design control over construction plans and specifications, including the ability to make modifications to those plans and specifications. This person is typically the owner or developer of the project or a portion of the project (e.g. subsequent builder), or the person that is the current landowner of the construction site. This person is considered the primary permittee; or (2) The person has day-to-day operational control of those activities at a project which are necessary to ensure compliance with a SWPPP for the site or other permit conditions. This person is typically a contractor or a commercial builder who is hired by the primary permittee and is considered a secondary permittee.

Owners, developers and all contractors that meet the definition of the operator in subsection 2.2 of the permit shall apply for permit coverage on the same NOI, insofar as possible. After permit coverage has been granted to the primary permittee, any separate or subsequent NOI submittals must include the site’s previously assigned permit tracking number and the project name. The site-wide site-specific SWPPP shall be prepared in accordance with the requirements of part 5 of the permit and must be submitted with the NOI unless the NOI being submitted is to only add a contractor (secondary permittee) to an existing coverage. Artificial entities (e.g., corporations or partnerships excluding entities not required to register) must submit the TN Secretary of State, Division of Business Services, control number. The Division reserves the right to deny coverage to artificial entities that are not properly registered and in good standing with the TN Secretary of State.

Notice of Coverage The division will review the NOI for completeness and accuracy and prepare a notice of coverage (NOC). Stormwater discharge from the construction site is authorized as of the effective date of the NOC.

Complete the form Type or print clearly, using ink and not markers or pencil. Answer each item or enter “NA,” for not applicable, if a particular item does not fit the circumstances or characteristics of your construction site or activity. If you need additional space, attach a separate piece of paper to the NOI form. The NOI will be considered incomplete without a permit fee, a map, and the SWPPP.

Describe and locate the project Use the legal or official name of the construction site. If a construction site lacks street name or route number, give the most accurate geographic information available to describe the location (reference to adjacent highways, roads and structures; e.g. intersection of state highways 70 and 100). Latitude and longitude (expressed in decimal degrees) of the center of the site can be located on USGS quadrangle maps. The maps can be obtained at the USGS World Wide Web site: http://www.usgs.gov/; latitude and longitude information can be found at numerous other web sites. Attach a copy of a portion of a 7.5 minute topographic map, a city map, or a county map showing location of site, with boundaries at least one mile outside the site boundaries. Provide estimated starting date of clearing activities and completion date of the project, and an estimate of the number of acres of the site on which soil will be disturbed, including borrow areas, fill areas, stockpiles and the total acres. For linear projects, give location at each end of the construction area.

Give name of the receiving waters Trace the route of stormwater runoff from the construction site and determine the name of the river(s), stream(s), creek(s), wetland(s), lake(s) or any other water course(s) into which the stormwater runoff drains. Note that the receiving water course may or may not be located on the construction site. If the first water body receiving construction site runoff is unnamed (“unnamed tributary”), determine the name of the water body that the unnamed tributary enters.

An ARAP may be required If your work will disturb or cause alterations of a stream or wetland, you must obtain an appropriate Aquatic Resource Alteration Permit (ARAP). If you have a question about the ARAP program, contact your local Environmental Field Office (EFO).

Submitting the form and obtaining more information Note that this form must be signed by the company President, Vice-President, or a ranking elected official in the case of a municipality, for details see subpart 2.5. For more information, contact your local EFO at the toll-free number 1-888-891-8332 (TDEC). Submit the completed NOI form (keep a copy for your records) to the appropriate EFO for the county(ies) where the construction activity is located, addressed to Attention: Stormwater NOI Processing or use MyTDEC Forms for electronic submittal.

| EFO | Street Address | Zip Code | EFO | Street Address | Zip Code |
| --- | --- | --- | --- | --- | --- |
| Memphis | 8383 Wolf Lake Drive, Bartlett | 38133-4119 | Cookeville | 1221 South Willow Ave. | 38506 |
| Jackson | 1625 Hollywood Drive | 38305-4316 | Chattanooga | 1301 Riverfront Parkway, Suite 206 | 37402-2013 |
| Nashville | 711 R S Gass Boulevard | 37243 | Knoxville | 3711 Middlebrook Pike | 37921 |
| Columbia | 1421 Hampshire Pike | 38401 | Johnson City | 2305 Silverdale Road | 37601 |

CN-0940 (Rev. 09-21) 				    						  	  RDA 2366

Appendix B – NOTICE OF TERMINATION FORM (NOT)

(See Next Page)

TENNESSEE Department Of Environment And Conservation (TDEC)

Division of Water Resources (DWR)

William R. Snodgrass Tennessee Tower, 312 Rosa L. Parks Avenue, 11th Floor

Nashville, Tennessee 37243

1-888-891-TDEC (8332)

Notice of Termination (NOT) for

General NPDES Permit for Stormwater Discharges from Construction Activities (CGP)

This form is required to be submitted when requesting termination of coverage from the CGP. The purpose of this form is to notify the TDEC that either all stormwater discharges associated with construction activity from the portion of the identified facility where you, as an operator, have ceased or have been eliminated; or you are no longer an operator at the construction site. Submission of this form shall in no way relieve the permittee of permit obligations required prior to submission of this form. Submit this form to the local DWR Environmental Field Office (EFO) address (see table below) or using MyTDEC Forms electronic submittal process. For more information, contact your local EFO at the toll-free number 1-888-891-8332 (TDEC).

| Site or Project Name: |  | NPDES Tracking Number: TNR |  |
| --- | --- | --- | --- |
| Street Address or Location: | County(ies): |

| Name of Permittee Requesting Termination of Coverage: |
| --- |
| Permittee Contact Name: | Title or Position: |
| Mailing Address: | City: | State: | Zip: |
| Phone: ( ) | E-mail: |

Check the reason(s) for termination of permit coverage: (check only one)

|  | Primary permittee termination: all requirements for termination under Permit Part 9.1.1. a) through c) have been met. This includes, but is not limited to, for areas the primary permittee has control all earth-disturbing activities at the site are complete and permanent stabilization as defined in Part 10 of the CGP has been achieved. (attach photo documentation). |
| --- | --- |
|  | When applicable, and you are a primary permittee seeking termination, list who is responsible for ongoing maintenance of stormwater controls left on the site subject for long-term use following termination of coverage: |
|  | Secondary permittee termination: all requirements for termination under Permit Part 9.2.1. have been met (no longer an operator at the construction site). |

Certification and Signature:

(must be signed by president, vice-president or equivalent ranking elected official)

| I certify under penalty of law that either: (a) all stormwater discharges associated with construction activity from the portion of the identified facility where I was an operator have ceased or have been eliminated or (b) I am no longer an operator at the construction site. I understand that by submitting this notice of termination, I am no longer authorized to discharge stormwater associated with construction activity under this general permit, and that discharging pollutants in stormwater associated with construction activity to waters of the United States is unlawful under the Clean Water Act where the discharge is not authorized by a NPDES permit. I also understand that the submittal of this notice of termination does not release an operator from liability for any violations of this permit or the Clean Water Act. For the purposes of this certification, elimination of stormwater discharges associated with construction activity means that all stormwater discharges associated with construction activities from the identified site that are authorized by a NPDES general permit have been eliminated from the portion of the construction site where the operator had control. Specifically, this means that all disturbed soils at the portion of the construction site where the operator had control have been permanently stabilized, the temporary erosion and sediment control measures have been removed, and/or subsequent operators have obtained permit coverage for the site or portions of the site where the operator had control. I certify under penalty of law that this document and all attachments were prepared by me, or under my direction or supervision. The submitted information is to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment. As specified in Tennessee Code Annotated Section 39-16-702(a)(4), this declaration is made under penalty of perjury. |
| --- |
| Permittee name (print or type): | Signature: | Date: |

| EFO | Address | EFO | Street Address |
| --- | --- | --- | --- |
| Memphis | 8383 Wolf Lake Drive, Bartlett, TN 38133 | Cookeville | 1221 South Willow Ave., TN 38506 |
| Jackson | 1625 Hollywood Drive, TN 38305 | Chattanooga | 1301 Riverfront Parkway, Ste. 206, TN 37402 |
| Nashville | 711 R S Gass Boulevard, TN 37243 | Knoxville | 3711 Middlebrook Pike, TN 37921 |
| Columbia | 1421 Hampshire Pike, TN 38401 | Johnson City | 2305 Silverdale Road, TN 37601 |

#### CN-1175 (Rev. 09-21)	RDA 2366

Appendix C – Inspection Report Form

(See Next Page)

TENNESSEE Department Of Environment And Conservation (TDEC)

Division of Water Resources (DWR)

William R. Snodgrass Tennessee Tower, 312 Rosa L. Parks Avenue, 11th Floor,

Nashville, Tennessee 37243

1-888-891-8332 (TDEC)

General NPDES Permit for Stormwater Discharges from Construction Activities (CGP)

Construction Stormwater Inspection Certification (Inspection Form)

| Site or Project Name: | NPDES Tracking Number: TNR |
| --- | --- |
| Primary Permittee Name: | Date of Inspection: |
| Current approximate disturbed acreage: | Has rainfall been checked/documented daily? Yes No | Name of Inspector: |
| Current weather/ground conditions: | Rainfall total since last inspection: | Inspector’s TNEPSC Certification Number: |
| Site Assessment Yes No | Assessor’s TN PE registration number: | Assessor’s TNEPSC Level II/CPESC number: |

| Check the box if the following items are on-site: |
| --- |
|  | Notice of Coverage (NOC) |
|  | Stormwater Pollution Prevention Plan (SWPPP) |
|  | Weekly inspection documentation |
|  | Site contact information |
|  | Rain Gage |
| Off-site Reference Rain Gage Location |  |

Best Management Practices (BMPs):

| Are the Erosion Prevention and Sediment Controls (EPSCs) functioning correctly? If “No,” describe below in Comment Section |
| --- |
| 1. | Are all applicable EPSCs installed and maintained per the SWPPP per the current phase? | Yes | No |
| 2. | Are EPSCs functioning correctly at all disturbed areas/material storage areas? (permit section 4.1.5) | Yes | No |
| 3. | Are EPSCs functioning correctly at outfall/discharge points such that there is no objectionable color contrast in the receiving stream, and no other water quality impacts? (permit section 5.3.2) | Yes | No |
| 4. | Are EPSCs functioning correctly at ingress/egress points such that there is no evidence of track out? | Yes | No |
| 5. | If applicable, have discharges from dewatering activities been managed by appropriate controls? (permit section 4.1.3) If “No,” describe below the measure to be implemented to address deficiencies. | N/A | Yes | No |
| 6. | If construction activity at any location on-site has temporarily/permanently ceased, was the area stabilized within 14 days? (permit section 3.5.3.2) If “,” describe below each location and measures taken to stabilize the area(s). | N/A | Yes | No |
| 7. | Have pollution prevention measures been installed, implemented, and maintained to minimize the discharge of pollutants from wash waters, exposure of materials and discharges from spills and leaks per section 4.1.4? If “No,” describe below the measure to be implemented to address deficiencies. | N/A | Yes | No |
| Site or Project Name: | NPDES Tracking Number: TNR |
| Primary Permittee Name: | Date of Inspection: |

| 8. | If a concrete washout facility is located on site, is it clearly identified on the project and maintained? If “No,” describe below the measures to be implemented to address deficiencies. | N/A | Yes | No |
| --- | --- | --- | --- | --- |
| 9. | Have all previous deficiencies been addressed? If “No,” describe the remaining deficiencies in the Comments section. Check if deficiencies/corrective measures have been reported on a previous form. | N/A | Yes | No |
| Comment Section. If the answer is “No” for any of the above, describe the problem and summarize corrective actions to be taken. Otherwise, describe any pertinent observations: |
| Certification and Signature (must be signed by the certified inspector and the permittee per Sections 5.5.3.11 (g) and 8.7.2 of the CGP) |
| I certify under penalty of law that this document and all attachments were prepared by me, or under my direction or supervision. The submitted information is to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment. As specified in Tennessee Code Annotated Section 39-16-702(a)(4), this declaration is made under penalty of perjury. |
| Inspector Name and Title : | Signature: | Date: |
| Primary Permittee Name and Title: | Signature: | Date: |

CN-1173 (Rev. 09-21) 	(Instructions on next page)	RDA 2366

Construction Stormwater Inspection Certification Form (Inspection Form)

Purpose of this form/ Instructions

An inspection, as described in subsection 5.5.3.9. of the General Permit for Stormwater Discharges from Construction Activities (“Permit”), shall be performed at the specified frequency and documented on this form. Inspections shall be performed at least 72 hours apart. Where sites or portion(s) of construction sites have been temporarily stabilized, or runoff is unlikely due to winter conditions (e.g., site covered with snow or ice), such inspection only has to be conducted once per month until thawing results in runoff or construction activity resumes.

Inspections can be performed by:

a)	a person with an valid certification from the “Fundamentals of Erosion Prevention and Sediment Control Level I” course,

b)	a licensed professional engineer or landscape architect,

c)	a Certified Professional in Erosion and Sediment Control (CPESC), or

d)	a person who has successfully completed the “Level II Design Principles for Erosion Prevention and Sediment Control for Construction Sites” course.

Qualified personnel, as defined in subsection 5.5.3.10 of the Permit (provided by the permittee or cooperatively by multiple permittees) shall inspect disturbed areas of the construction site that have not been permanently stabilized, areas used for storage of materials that are exposed to precipitation, structural control measures, locations where vehicles enter or exit the site, and each outfall.

Disturbed areas and areas used for storage of materials that are exposed to precipitation shall be inspected for evidence of, or the potential for, pollutants entering the site’s drainage system. Erosion prevention and sediment control measures shall be observed to ensure that they are operating correctly.

Outfall points (where discharges leave the site and/or enter waters of the state) shall be inspected to determine whether erosion prevention and sediment control measures are effective in preventing significant impacts to receiving waters. Where discharge locations are inaccessible, nearby downstream locations shall be inspected. Locations where vehicles enter or exit the site shall be inspected for evidence of offsite sediment tracking.

Based on the results of the inspection, any inadequate control measures or control measures in disrepair shall be replaced or modified, or repaired as necessary, before the next rain event if possible, but in no case more than 7 days after the need is identified.

Based on the results of the inspection, the site description identified in the SWPPP in accordance with section 5.5.1 of the Permit and pollution prevention measures identified in the SWPPP in accordance with section 5.5.2 of the Permit, shall be revised as appropriate, but in no case later than 7 days following the inspection. Such modifications shall provide for timely implementation of any changes to the SWPPP, but in no case later than 14 days following the inspection.

All inspections shall be documented on this Construction Stormwater Inspection Certification form. Alternative inspection forms may be used as long as the form contents and the inspection certification language are, at a minimum, equivalent to the Division’s form and the permittee has obtained a written approval from the Division to use the alternative form. Inspection documentation will be maintained on site and made available to the Division upon request. Inspection reports must be submitted to the Division within 10 days of the request.

Trained certified inspectors shall complete inspection documentation to the best of their ability. Falsifying inspection records or other documentation or failure to complete inspection documentation shall result in a violation of this permit and any other applicable acts or rules.

“Significant contributor of pollutants to waters of the state” means any discharge containing pollutants that are reasonably expected to cause or contribute to a violation of a water quality criteria or receiving stream designated uses.

As defined in the Tennessee Wildlife Resources Commission Proclamation, Endangered or Threatened Aquatic Species, and in the Tennessee Wildlife Resources Commission Proclamation, Wildlife in Need of Management.

Any reference to an “application” in this permit should be considered equivalent to the phrase “complete NOI, SWPPP and application fee”

e.g., residential house, non-residential structure, commercial building, industrial facility, etc.

Phrase “point source” and term “outfall” are used interchangeably. For the purpose of this general permit, they can be considered synonyms.

If obtaining permit coverage for the first time following the effective date of this permit, 15-foot buffers are also required for any wet weather conveyance identified as waters of the United States by the U.S. Army Corps of Engineers or the Environmental Protection Agency.

DWR Construction Stormwater Permitting Map Viewer can be found at: https://tdeconline.tn.gov/dwrcgp/

List of Exceptional Waters and ORNWs in Tennessee can be found at: https://tdec.tn.gov:8090/pls/enf_reports/f?p=9034:34304; corresponding map viewer is under development

or discharges upstream of such waters and because of the proximity to the segment and the nature of the discharge is likely to cause more than de minimis degradation in the unavailable or exceptional segment.

As specified in 40 CFR 122.22(a)(1)-(3) [48 FR 14153, Apr. 1, 1983, as amended at 48 FR 39619, Sept. 1, 1983; 49 FR 38047, Sept. 29, 1984; 50 FR 6941, Feb. 19, 1985; 55 FR 48063, Nov. 16, 1990; 65 FR 30907, May 15, 2000]